
PARTICULAR SPECIFICATION PS.G18
Preservation and Protection of Existing Trees 
Particular Specification for Preservation and Protection of Existing Trees
	General
	1.
	This Particular Specification shall be read in conjunction with Section 25 – Landscape Work of the General Specification for Building 2007 Edition (GS).  Where this Particular Specification conflicts with the GS, this Particular Specification shall take precedence.

	
	
	

	Protection from physical damage
	2
	GS Clause 25.69.3(a) is deleted and replaced by the following:

	and soil compaction by construction activities
	
	25.69.3(a)
	The Contractor shall erect, secure and maintain in good condition temporary protective fencing to protect the preserved trees.  Details of the temporary protective fencing are shown in Drawing No. TP1 attached to this Particular Specification.  The Contractor shall submit method statements including construction details to the SO for approval and obtain such approval before commencing the erection of the protective fencing.

	
	
	

	Temporary
	3.
	GS Clause 25.69.3(f) is deleted and replaced by the following: 

	protective
	
	
	

	hessian armouring
	
	25.69.3(f)
	The Contractor shall provide temporary protective hessian armouring around tree trunks to protect the preserved trees.  When instructed by the SO, the Contractor shall provide temporary protective hessian and plank armouring as an alternative to the same trees for enhanced protection.  Details of the temporary protective hessian armouring and hessian and plank armouring are shown in Drawing No. TP2 attached to this Particular Specification.

	
	
	

	Temporary
	4.
	GS Clause 25.69.3(g) is deleted and replaced by the following: 

	protective
	
	
	

	mulching
	
	25.69.3(g)
	Unless otherwise agreed by the SO, the ground of the TPZ(s) of the trees referred to in Clause 25.69.3(f) shall be protected from damage by construction activities through the use of temporary protective mulching.  When instructed by the SO, double, overlapping, thick metal sheet coverings, or other materials of equivalent strength as agreed by the SO, shall be laid on top of the temporary protective mulching to provide additional protection from soil compaction due to passage or parking of vehicles or operation of equipment or machinery.  Details of the temporary protective mulching are shown in Drawing No. TP3 attached to this Particular Specification.

	
	
	
	


	Protection 
	5.
	GS Clause 25.69.4(b)(i) is deleted and replaced by the following: 

	from changes
	
	
	

	in ground levels
	
	25.69.4(b)(i)
	construct a retaining wall as shown in Drawing No. TP4 attached to this Particular Specification or similar measures as agreed by the SO to accommodate the reduction in the existing ground level around the tree, 

	
	
	

	
	
	GS Clause 25.69.4(c)(i) and (ii) are deleted and replaced by the following: 

	
	
	
	

	
	
	25.69.4(c)(i)
	construct a dry well and soil aeration system as shown in Drawing No. TP5 attached to this Particular Specification or similar measures as agreed by the SO to accommodate minor to moderate rise of up to 300 mm in the existing ground level around the tree,

	
	
	
	

	
	
	25.69.4(c)(ii)
	construct a dry well and soil aeration system as shown in Drawing No. TP6 attached to this Particular Specification or similar measures as agreed by the SO to accommodate major rise of more than 300 mm in the existing ground level around the tree,

	
	
	

	Protection from excavation including trenching
	6.
	Replace “excavate the trench on the paved side of the tree if one exists, or tunnel the service in the manner and as shown in BS 5837 close to the tree trunk on one side:” in GS Clause 25.69.5(d) with “excavate the trench on the paved side of the tree if one exists, or tunnel the service in the following manner and as shown in Drawing No. TP7 attached to this Particular Specification close to the tree trunk on one side:”.

	
	
	


[image: image1.png]—— PERIMETER OF TREE
= 2 PROTECTION ZONE, ALONG
OR BEYOND WHICH TEMPORARY
PROTECTIVE FENCING SHALL BE ERECTED

| en6e oF ouTERMOST
| BRANCHES OF
PRESERVED TREE

e L

PLAN - INDIVIDUAL TREE

(DIAGRAMMATIC)

~——PERIMETER OF AGGREGATE TREE
PROTECTION ZONE, ALONG OR

BEYOND WHICH TEMPORARY PROTECTIVE
FENCING SHALL BE ERECTED

TREE TRUNK—,

X
/" __epges oF oUTERMOST

/ BRANCHES OF
PRESERVED TREES

TREE TRUNK —

A —— e —

PLAN - GROUP OF TREES

(DIAGRAMMATIC)

D .
TEMPORARY PROTECTIVE FENCING TO PRESERVED TREE e e





[image: image2.png]TREE CROWN SPREAD

— PRESERVED TREE

(SEE NOTE 2)

— DETAILS AND ALIGNMENT

/ OF TEMPORARY PROTECTIVE
[ FENCING SHOWN ARE
INDICATIVE ONLY
(SEE NOTES 4 7O 8

- DRIPLINE OF TREE
(SEE NOTE 2)

i
l~—DRIPLINE OF TREE
i
|
l
|
|
]
l
|
|
|
l
|

HEIGHT OF TEMPORARY
PROTECTIVE FENCING
(SEE NOTE 3)

PERSPECTIVE - INDIVIDUAL TREE

(DIAGRAMMATIC)

DRAWING NO.
TEMPORARY PROTECTIVE FENCING TO PRESERVED TREE TP e s or 4





[image: image3.png]TREE GROUP
[SEE NOTE )

|

1/ |
DRIPLINE OF W J 7 r-w DRIPLINE OF

‘ |

|

|

|

|

|

|

|

~—— GROUP OF PRESERVED TREES

TREE GROUP
(SEE NOTE 2)

| HEIGHT OF

. TEMPORARY

. PROTECTIVE

| FENCING

- (SEE NOTE 3)

N

~n yas “—— DETAILS AND ALIGNMENT OF
TEMPORARY PROTECTIVE FENCING
SHOWN ARE INDICATIVE ONLY

{SEE NOTES 4 70 §)

PERSPECTIVE - GROUP OF TREES

(DIAGRAMMATIC)

DRAWING NO.

TEMPORARY PROTECTIVE FENCING TO PRESERVED TREE TP seer o 0r 4





[image: image4.png]NOTES;

1. ALL DIMENSIONS ARE IN MILLIMETRES UNLESS QOTHERWISE SPECIFIED

2. DRIPLINE OF *TREZ /TRZE GROUP EXTENDS TO THE OUTERMOST BRANCHES OF THE *TREE /
TREE GROUP, DEFINING THE PERIMETER OF THE *TREE PROTECTION ZOME / AGGREGATE TREE
PROTECTION ZONE

3. HEIGHT OF TEMPORARY PROTECTIVE FENCING SHALL BE 1500 MINIMUM. BUT THE REQUIRED
HEIGHT SHALL BE DETERMINED BY THE *ARCHITECT / ENGINEER / SUPERVISING OFFICER WHEN
APPROVING THE CONSTRUCTION DETAILS OF THE FENCING AS REFERRED TO IN NOTE 8

4. TEMPORARY PROTECTIVE FENCING SHALL BE STRONG AND APPROPRIATE FOR RESISTING THE
IMPACTS OF CONSTRUCTION ACTIVITIES ON THE SITE. iT SHALL BE MADE OF ROBUST MATERIALS
AND SHALL COMPRISE A VERTICAL AND HORIZONTAL SCAFFOLDING FRAMEWORK, WELL BRACED
AND SUPPORTING **CHAIN LINK FENCING / STEEL SHEET FENCING, OR OTHER FENCING AS
APPROVED BY THE “ARCHITECT / ENGINEER / SUPERVISING OFFICER. ONLY IN EXCEPTIONAL
CIRCUMSTANCES SHALL PLASTIC WEBBING BE CONSIDERED.

5. THE ALIGNMENT OF TEMPORARY PROTECTIVE FENCING CAN BE IN CIRCULAR, SQUARE,
RECTANGULAR OR ANY OTHER SHAPE SO LONG AS THE FENCING INCLUDING ITS FOUNDATIONS
DOES NCT ENCROACH INTO THE TREE PROTECTION ZONE.

6. A LOCKABLE GATE SHALL BE PROVIDED TO THE TEMPORARY PROTECTIVE FENCING TO ALLOW
ENTRY FOR CARRYING OUT THE NECESSARY ARBORICULTURAL WORKS OR MAINTENANCE WORKS TO
THE TREE OR ANY QTHER APPROVED WORKS WITHIN THE TREE PROTECTION ZONE

7. WARNING NCTICE GUARDING AGAINST UNAUTHORISED OPERATIONS WITHIN FENCED AREA SHALL
BE ERECTED ON THE TEMPORARY PROTECTIVE FENCING.

8. THE CONTRACTOR SHALL SUBMIT THE CONSTRUCTION DETAILS OF THE TEMPORARY PROTECTIVE
FENCING TO THE *ARCHITECT / ENGINEER / SUPERVISING QFFICER FOR APPROVAL PRICR TO
ERECTION OF THE FENCING.

* DELETE WHICHEVER IS INAPPROPRIATE

** DELETE WHICHEVER IS INAPPROPRIATE. STEEL SHEET FENCING SHALL BE USED N CIRCUMSTANCES
WHERE THE CONCENTRATION OF CONSTRUCTION ACTIVITY IS PARTICULARLY INTENSE OR THE
PRESERVED TREE IS EITHER PARTICULARLY VALUABLE OR PARTICULARLY VULNERABLE.

TEMPORARY PROTECTIVE FENCING TO PRESERVED TREE

DRAWING NO.

TP1 (SHEET 4 OF 4)






[image: image5.png]NOTES:

——= —— PRESERVED

1. ALL DIMENSIONS ARE IN MILLIMETERS UNLESS TREE
OTHERWISE SPECIFIED /

2. HEIGHT OF "HESSIAN COVER /HESSIAN
AND PLANK COVER TO THE TRUNK SHALL BE
1500 MIN., BUT THE REQUIRED HEIGHT FOR
DIFFERENT INDIVIDUAL TREES SHALL BE
DETERMINED BY THE *ARCHITECT /
ENGINEER / SUPERVISING OFFICER ON SITE

* DELETE WHICHEVER IS INAPPROPRIATE

TIES FOR SECURING
THE HESSIAN COVER

HESSIAN COVER TO TREE 3
TRUNK SHALL BE MINIMUM
10 THICK WITH 150 OVERLAP ————= / HEIGHT OF
HESSIAN COVER
/o (SEE NOTE 2)
/8
z
1 GROUND LEVEL
Y

TEMPORARY PROTECTIVE HESSIAN
ARMOURING TO PRESERVED TREE

{DIAGRAMMATIC)

-~ PRESERVED TREE
) —TREE TRUNK

~HESSIAN COVER

SECTION A-A

PLANKSﬂQN' TOP ) ) TIES FOR SECURING THE
OF HESSIAN COVER ey HESSIAN AND PLANK COVER

HESSIAN COVER 10
TREE TRUNK SHALL A JAY HEIGHT OF HESSIAN
BE MINIMUM 10 THK. AND PLANK COVER

WITH 150 OVERLAP /= {SEE NOTE 2)
/ <
3
1 GROUND LEVEL
Y

TEMPORARY PROTECTIVE HESSIAN AND PLANK
ARMOURING TO PRESERVED TREE

(DIAGRAMMATIC)

TEMPORARY PROTECTIVE ARMOURING TO PRESERVED TREE PRAEy






[image: image6.png]PRESERVED TREE

|
]
|
|
[
|
[
; |
[ .
—— DRIPUNE e DRIPLINE
= CF TREE [ OF TREE
| (SEE NOTE 2) | (SEE NOTE 2)
|
|
[
| |
| i
| l
| ]
CH DEPTH TAPERS N 150-300 THICK GRAVEL MULCH OR
| T oher e s NEAR WOOD CHP MULCH PLACED ON |
| SEE NOTE B TOP OF GEOTEXTILE MEMBRANE |
oF ' (SEE NOTES 4 TO 7) — | —— GEOTEXTILE
| / [ VEVERANE
| / ;1200 (SEE NOTE 3)
| | ~UN /1
! ‘ 7 |
N R Y AR A

TREE PROTECTION ZONE

TEMPORARY PROTECTIVE MULCHING
1O PRESERVED TREE

(DIAGRAMMATIC)

DRAWING NO.
TEMPORARY PROTECTIVE MULCHING TO PRESERVED TREE TP3 et 107 2






[image: image7.png]NOTES:

1

2.

o

~1

ALL DIMENSIONS ARE IN MILLIMETRES UNLESS CTHERWISE SPECIFIED

DRIPLINE OF TREE EXTENDS TO THE OUTERMOST BRANCHES OF THE TREE, DEFINING THE
PERIMETER OF THE TREE PROTECTION ZONE.

THE GROUND BENEATH THE GEOQTEXTILE MEMBRANE WITHIN THE TREE PROTECTION ZONE
SHALL BE LEFT UNDISTURBED. BUT THE DEBRIS AND THE EXISTING UNDERGROWTH ON
THE GROUND SHALL BE CLEARED PRIOR TO APPLYING THE GEQTEXTILE MEMBRANE. THE
“ARCHITECT / ENGINEER / SUPERVISING OFFICER'S AGREEMENT SHALL BE OBTAINED

PRIOR TO CLEARANCE OF THE EXISTING UNDERGROWTH

WHERE GRAVEL MULCH 1S USED. THE NOMINAL SIZE OF GRAVEL SHALL BE OF 20 DIAMETER
AND THE GRAVEL SHALL BE OF INERT, LIME-FREE MATERIALS WITH NO FINES

WHERE WOOD CHIP MULCH IS USED. THE NOMINAL PARTICLE SIZE SHALL BE IN THE RANGE
2mm TG 20mm AND THE WOOD CHIPS SHALL BE FREE FROM PERNICIOUS WEEDS, CHEMICAL
CONTAMINATION, RUBBISH AND OTHER DELETERIOUS MATERIAL

. TEMPORARY PROTECTIVE MULCHING SHALL BE INSPECTED AT MONTHLY INTERVALS AND,

iF NECESSARY. SHALL BE REPLENISHED TO THE SPECIFIED THICKNESS.

WHERE, iN ADDITION TO PEDESTRIAN LOADS, THE PASSAGE OR PARKING OF VEHICLES OR THE
OPERATION OF EQUIPMENT OR MACHINERY WITHIN THE TREE PROTECTION ZONE HAS BEEN
AGREED BY THE "ARCHITECT / ENGINEER / SUPERVISING OFFICER, DOUBLE, OVERLAPPING

THICK METAL SHEET COVERINGS. OR OTHER MATERIALS OF EQUIVALENT STRENGTH AS AGREED

BY THE "ARCHITECT / ENGINEER / SUPERVISING OFFICER, SHALL BE LAID ON TOP OF THE
TEMPORARY PROTECTIVE MULCHING TO PROVIDE ADDITIONAL PROTECTION FROM SOIL COMPACTION.

MULCH SHALL BE KEPT AWAY FROM THE BASE OF TREE TRUNK TO PREVENT ROOT COLLAR ROT

WHERE THE PRESERVED TREE :S ON SLOPING GRCUND, 300 HIGH TIMBER EDGE SHALL BE
PEGGED ON DOWNSLOPE SIDE OF THE TREE PROTECTION ZONE TO HOLD THE MULCH.

= DELETE WHICHEYER IS INAPPROPRIATE

TEMPORARY PROTECTIVE MULCHING TO PRESERVED TREE

DRAWING NO.

TP3 {SHEET 2 OF 2)






[image: image8.png]— PRESERVED TREE

| DRIPLINE OF TREE

DRIPLINE OF TREE | (SEE NOTE 2)
(SEE NOTE 2) —— T |
| | RETAINING WALL
2 ORIGINAL
| GROUND LEVEL
TREE PROTECTION ZONE NEW GROUND LEVEL
- SEE DETAIL 1
SECTION
(DIAGRAMMATIC)
| |~ DRIPLINE OF TREE
- | —— PRUNED ROOTS
~ TREE TRUNK | / (SEE NOTES 3 8 4)
. | /
| |/ 150-200 THICK
| |/ SOIL MiX (SEE NOTE 5)
/
ORIGINAL GROUND [/ ..
LEVEL WITHIN TREE / [ RETANING Wall
PROTECTION ZONE Vo / {SEE NOTE )
Y
GEOTEXTILE FILTER
MEMBRANE
! 50 DIA WEEPHOLE
\ NEW GROUND LEVEL
|
|
N ‘
gg:ﬁ“% LAYER L 50 OR 100 DiA. PERFORATED
SEE NOTE 7/ PLASTIC DRAIN PIPE WRAPPED
RE o WITH GECTEXTHLE FILTER MEMBRANE
{SEE NOTE 8)
DETAIL 1 ~ RETAINING WALL
NEAR TREE PROTECTION ZONE
{DIAGRAMMATIC)
MEASURES TO ACCOMMODATE REDUCTION IN GROUND LEVEL DRAWING NO.

AROUND PRESERVED TREE TP4 see 1o






[image: image9.png]NOTES:
1. ALL DIMENSIONS ARE IN MILLIMETRES UNLESS OTHERWISE SPECIFIED

ro

DRIPLINE OF TREE EXTENDS TO THE OUTERMOST BRANCHES OF THE TREE, DEFINING THE
PERIMETER OF THE TREE PROTECTION ZONE.

(53

- THE FOLLOWING PROCEDURES SHALL BE FOLLOWED IN ROOT PRUNING TO AVOID TEARING
AND SHREDDING OF THE ROOTS BY GRADING EQUIPMENT
(i) BEFCRE GRADING, TRENCH AROUND THE TREE AT LEAST 200 BEYOND THE PERIMETER
OF THE TREE PROTECTION ZONE WITH HAND-HELD TOOLS SUCH AS HOE AND SPADE,
CAREFULLY FORK THE SOIL AWAY FROM THE ROOTS USING HAND-HELD TOOLS UP TO
THE EDGE DEFINED BY THE PERIMETER OF THE TREE PRCTECTION ZONE, AND
(i) PRUNE THE ROOTS USING HAND-HELD TOOLS UP TO THE EDGE DEFINED BY THE
PERIMETER OF THE TREE PROTECTION ZONE

{i

S

THE FOLLOWING PROCEDURES SHALL BE FOLLOWED IMMEDIATELY AFTER RCOT PRUNING
UNTIL BACKFILLING 1S COMPLETE TO PREVENT THE CUT AND EXPOSED ROOTS FROM DRYING
ouT:
(i) HANG THICK HESSIAN OR OTHER PORCUS, ABSORBENT FABRIC FROM THE TOP OF THE
CUT SURFACE OVER THE EXPOSED ROOTS AND SOiL, AND
(i) MIST THE HESSIAN OR FABRIC IN A FREQUENCY THAT KEEPS THE ROOTS AND SOiL
AT THE CUT SURFACE MOIST ALL THE TIME.

5 SLOW RELEASE FERTILIZER SHALL BE INCORPORATED INTQ THE SOIL MX AT A RATE OF
500 G /M COR AT A RATE AS DIRECTED BY THE "ARCHITECT / ENGINEER / SUPERVISING
OFFICER.

6. THE ALIGNMENT OF THE RETAINING WALL MAY VARY TO ACCOMMODATE THE ROOTS THAT ARE
TO BE RETAINED, INCLUDING BUT NOT LIMITED 7O TAP ROOTS, SINKER ROOTS. SUPPORT ROOTS
AND ROOTS WITH DIAMETER EXCEEDING 50.

~3

THE NOMINAL SIZE OF GRAVEL SHALL BE OF 20 DIAMETER AND THE GRAVEL SHALL BE OF
INERT. LIME-FREE MATERIALS WITH NO FINES.

o

THE DRAIN PIPE SHALL BE CONNECTED TO A SUITABLE NFEARBY DRAINAGE OUTLET SUCH AS
SURFACE CHANNEL CR STORM WATER DRAIN AS AGREED BY THE *ARCHITECT / ENGINEER /
SUPERVISING OFFICER

= DELETE WHICHEVER IS INAPPROPRIATE

MEASURES TO ACCOMMODATE REDUCTION IN GROUND LEVEL DRAWING NO.
AROUND PRESERVED TREE TP4 seer 2 o5 5






[image: image10.png]| N (,
]
|
DRIPLINE OF TREE | .
£ NOTE 2) - RETAINING WALL
’ ] TO FORM A DRY WELL
| (FOUNDATIONS NOT
CUTTING ROOTS)
| {SEE NOTE 7) ——
| J
|
1

NEW GROUND | (SEE NOTE 3)
LEVEL :
(SEE NOTE 4] J o
2! SESEZS = )
S ORIGINAL -4
s, GAOUND LEVEL o
Sy SO R
e ; -
27
o — =

TREE PROTECTION ZONE (SEE NOTE 4

|

|
— L uncompacten
| FILL WITHIN TREE
PROTECTION ZONE
| (SEE NOTE 6
]
|

~— MINIMUM 1000

———- PRESERVED
TREE

|
t
l
|
| !
g

(SEE NOTE 2)

" VERTICAL
DRAIN
(SEE NOTE 5)

SECTION

(DIAGRAMMATIC)

TREE
EDGE OF OUTERMOST TRUNK ——

BRANCHES OF

RETAINING
WALL ——

(DIAGRAMMATIC)

——— VERTICAL DRAIN

MEASURES TO ACCOMMODATE MINOR TO MODERATE RISE
(UP TO 300mm) IN. GROUND LEVEL AROUND PRESERVED TREE

DRAWING NO.

TPS (SHEET 1 OF 2)






[image: image11.png]NOTES:

1. ALL DIMENSIONS ARE IN MILLIMETRES UNLESS QTHERWISE SPECIFIED

2. DRIPLINE OF TREE EXTENOS TO THE OUTERMOST BRANCHES OF THE TREE,
DEFINING THE PERIMETER OF THE TREE PROTECTICN ZONE.

3. UNDER NO CIRCUMSTANCES SHALL THE FILL BE PLACED AGAINST THE TREE
TRUNK. WHERE ONLY PART OF THE DRY WELL IS FORMED SUCH THAT PART
OF THE AREA NEXT TO THE TRUNK BASE IS CONNECTED 7O THE ADJACENT
PAVING AREA AT THE ORIGINAL GROUND LEVEL, THE AREA NEXT TO THE
TRUNK BASE SHALL BE COVERED WiTH OPEN JOINT PAVING OR LOOSE COBBLES

4. GRADING WITHIN THE TREE PROTECTION ZONE SHALL DRAIN AWAY FROM
THE TREE TRUNK. WHERE THE TREE S ON SLOPING GROUND, A SOIL BERM
SHALL BE FORMED BETWEEN THE RETAINING WALL OF THE DRY WELL AND
THE PERIMETER OF THE TREE PROTECTION ZONE ON THE UPSLOPE SIDE
OF THE WELL TO DIREZCT EXCESSIVE WATER FROM ENTERING THE WELL.

5. THE VERTICAL DRAINS SHALL BE 50 OR 100 DIAMETER PERFORATED PLASTIC
DRAIN PIPES WRAPPED WITH GEQTEXTILE FILTER MEMBRANE. THE OPENINGS
OF THE DRAINS TO THE AR SHALL BE COVERED WITH A TIGHTLY-FITTED
GRATE OR THE DRAINS SHALL BE FILLED WITH COARSE GRAVEL OF INERT,
LIME-FREE MATERIALS WITH NO FINES, FOR SAFETY, EXCLUSION OF ANIMALS,
AND TO ALLOW AIR AND WATER MOVEMENT, THE VERTICAL DRAINS SHALL BE
PLACED IN 600 MAXIMUM HORIZONTAL SPACING WITHIN THE TREE PROTECTION
ZONE AND SHALL EXTEND AT LEAST TO THE DRIPLINE OF THE TREE.

6 THE SOIL FOR FILLING WITHIN THE TREE PROTECTION ZONE SHALL BE OF A
COARSER TEXTURE THAN THE UNDERLYING SOIL BELOW THE ORIGINAL GROUND LEVEL.

7. THE DETAILS OF THE RETAINING WALL FOUNDATION SHOWN ARE INDICATIVE ONLY.
TO MINIMIZE ROCT DAMAGE, EXCAVATION FOR FOUNDATION SHALL BE CARRIED OUT
BY HAND AND SLAB FOUNDATION SHALL BE AVCIDED. WHERE DISCONTINUGUS FOUNDATION
IS USED, THE LOCATION OF THE FOUNDATION SHALL BE AGREED BY THE *ARCHITECT /
ENGINEER / SUPERVISING CFFICER.

* DELETE WHICHEVER IS INAPPROPRIATE

MEASURES TO ACCOMMODATE MINOR TO MODERATE RISE DRAWING NO.
(UP TO 300mm) IN GROUND LEVEL AROUND PRESERVED TREE TP5 sreer2 v 2






[image: image12.png]RETAINING WALL

TO FORM A DRY WELL
(FOUNCATIONS NOT
CUTTING ROQTS)

(SEE NOTE 1) ——

|
|
|
|
DRIPLINE OF TREE |
(SEE NOTE 2) e

GEQTEXTILE

!
i
UNCOMPACTED | FILTER MEMBRANE —
FILL WITHIN TREE ‘ 1 1
PROTECTION ZONE i NEW GROUND ~ MINIMUM 1000

— PRESERVED
TREE

|
I
|
I
o
r*w DRIPLINE
OF TREE
(SEE NOTE 2)

— VERTICAL DRAIN

(SES NOTES 9 & 10| = |eygl | (SEE NOTE 3} | 1] (SEE NOTES 5 & §)
|\ (SEE NOTE 4) / Lo
=1 ! ' -
&
=
DS ORIGINAL
21y GROUND LEVEL
S I Z
4 a
T~
L HORIZONTAL
RING DRAIN
E NOTES 5 )
— GRAVEL DRAINAGE HORIZONTAL (SEE NOTES 5 & 7)
LAYER [SEE NOTE §) SPOKE DRAIN
(SEE NOTES 5 & 7) —
TREE PROTECTION ZONE (SEE NOTE 4)
(DIAGRAMMATIC)
%
s
HORIZONTAL A
SPOKE DRAIN —
VERTIC ) —>
DRAIN LOWEST POINT
OF HORIZONTAL
RING DRAIN
RETAINING CONNECTED TC
WALL ——— DRAINAGE QUTLET
HORIZONTAL
RING DRAIN -

DRAIN PIPES SHALL BE

JOINTED TOGETHER USING
AN APPROPRIATELY-SIZED
T JUNCTION AND PROPERLY !
SEALED TO PREVENT LEAKAGE —

PLAN

(DIAGRAMMATIC)

\__ EDGE OF OUTERMOST

BRANCHES OF
PRESERVED TREE

MEASURES TO ACCOMMODATE MAJOR RISE (> 300mm)
IN GROUND LEVEL AROUND PRESERVED TREE

DRAWING NO.

TP6 [SHEET 1 OF 2)





[image: image13.png]NOTES:

ALL DIMENSIONS ARE IN MILLIMETRES UNLESS OTHERWISE SPECIFIED

2. DRIPLINE OF TREE EXTENDS TO THE OUTERMOST BRANCHES OF THE TREE, DEFINING THE
PERIMETER OF THE TREE PROTECTION ZONE.

3. UNDER NO CIRCUMSTANCES SHALL THE FILL BE PLACED AGAINST THE TREE TRUNK. WHERE
ONLY PART OF THE DRY WELL IS FORMED SUCH THAT PART OF THE AREA NEXT TO THE
TRUNK BASE IS CONNECTED TO THE ADJACENT PAVING AREA AT THE ORIGINAL GROUND
LEVEL, THE AREA NEXT TO THE TRUNK BASE SHALL BE COVERED WITH OPEN JOINT PAVING
OR LOCSE CCBBLES.

4, GRADING WITHIN THE TREE PROTECTION ZONE SHALL DRAIN AWAY FROM THE TREE TRUNK.
WHERE THE TREE IS ON SLOPING GRCUND. A SOIL BERM SHALL BE FORMED BETWEEN THE
RETAINING WALL OF THE DRY WELL AND THE PERIMETER OF THE TREE PROTECTION ZONE ON
THE UPSLOPE SIDE OF THE WELL TO DIRECT EXCESSIVE WATER FROM ENTERING THE WELL.

o

BOTH VERTICAL DRAINS AND HORIZONTAL DRAINS SHALL BE 100 DIAMETER PERFORATED PLASTIC
DRAIN PIPES WRAPPED WITH GEOTEXTILE FILTER MEMBRANE. HORIZONTAL DRAINS SHALL HAVE
NON-PERFORATED INVERT TO HELP DIRECTION OF WATER TO THE DRAINAGE OUTLET. THE
OPENINGS OF THE VERTICAL DRAINS TO THE AIR SHALL BE COVERED WITH A TIGHTLY-FITTED
GRATE OR THE DRAINS SHALL BE FILLED WITH COARSE GRAVEL OF INERT, LIME-FREE MATERIALS
WITH NO FINES, FOR SAFETY EXCLUSION OF ANIMALS, AND TO ALLOW AIR AND WATER MOVEMENT

6. THE VERTICAL DRAINS SHALL BE PLACED IN 1200 MAXIMUM HORIZONTAL SPACING ALONG THE
PERIMETER OF THE TREE PROTECTION ZONE.

7. THE HORIZONTAL SPOKE DRAINS SHALL DRAIN TOWARDS THE HORIZONTAL RING DRAIN. THE LOWEST
POINT OF THE HORIZONTAL RING DRAIN SHALL BE CONNECTED TO A SUITABLE NEARBY DRAINAGE
OUTLET SUCH AS SURFACE CHANNEL OR STORM WATER DRAIN AS AGREED BY THE *ARCHITECT /
ENGINEER / SUPERVISING OFFICER

8. THE GRAVEL DRAINAGE LAYER IS NOT REQUIRED IF THE RISE IN GROUND LEVEL IS NOT MORE
THAN 450, WHERE THE DRAINAGE LAYER IS REQUIRED, THE NOMINAL SIZE OF GRAVEL SHALL BE OF
20 DIAMETER AND THE GRAVEL SHALL BE OF INERT, LIME-FREE MATERIALS WITH NO FINES,

9. THE CAP OF FILL ABOVE THE GRAVEL DRAINAGE LAYER, IF PRESENT, SHALL BE 300 THICK

10. THE FILL SHALL BE CAREFULLY ADDED TO BUILD THE NEW GROUND LEVEL SC THAT THE
INTEGRITY OF THE DRAIN SYSTEM SURROUNDING THE DRY WELL IS MAINTAINED. THE SOIL FOR
FILLING WITHIN THE TREE PROTECTION ZONE SHALL BE OF A COARSER TEXTURE THAN THE
UNDERLYING SCIL BELOW THE ORIGINAL GROUND LEVEL.

. THE DETAILS OF THE RETAINING WALL FOUNDATION SHOWN ARE INDICATIVE CONLY.

TO MINIMIZE ROOT DAMAGE, EXCAVATION FOR FOUNDATION SHALL BE CARRIED QUT

BY HAND AND SLAB FOUNDATION SHALL BE AVOIDED. WHERE DISCONTINUCUS FOUNDATION
IS USED, THE LOCATION OF THE FOUNDATION SHALL BE AGREED BY THE *ARCHITECT /
ENGINEER / SUPERVISING OFFICER.

« DELETE WHICHEVER IS IN APPROPRIATE,

MEASURES TO ACCOMMODATE MAJOR RISE (>300mm) DRAWING NO.
IN. GROUND LEVEL AROUND PRESERVED TREE TP6 sreer2 07 2






[image: image14.png]AN CUTERMOST BRANCHES

DISTANCE BETWEEN / \, OF PRESERVED TREE

TREE TRUNK AND END
OF SERVICE TRENCH A
{SEE NOTE 2) o

—— SLEEVE ENCASING
THE SERVICE

— AREA WHERE THE SERVICE TUNNELS BENEATE THE
PERIMETER OF TREE - TREE AT A DEPTH NOT LESS THAN 750 AND IN A
PROTECTION ZONE —~ . WAY TO AVOID DAMAGING TAP RCOTS, SINKER
RCOTS OR SUPPORT TOOTS

- AREA WHERE SERVICE TRENCHES
ARE EXCAVATED ALONG RADI
OF THE TREE (SEE NOTES 3 & 4)

PLAN

(DIAGRAMMATIC)

DISTANCE BETWEEN

TREE TRUNK AND END
TREE TRUNK — OF SERVICE TRENCH ~— SERVICE TRENCH ALONG
(SEE NOTE 2) / RADHOF THE TREE SHALL

BE AS NARROW AS POSSIBLE
(SEE NOTES 3 & 4)

/7- SERVICE
\ I——

“—— SLEEVE ENCASING
THE SERVICE

L~ TUNNELING OF SERVICE
AT A DEPTH NOT LESS
THAN 750 BENEATH THE TREE

PERSPECTIVE

{DIAGRAMMATIC}

DRAWING NO.
TRENCHING AND TUNNELING ALONG RADII OF PRESERVED TREE TP7 (SHES*‘.”F )






[image: image15.png]NOTES:

1 ALL DIMENSIONS ARE IN MILLIMETRES UNLESS OTHERWISE SPECIFIED.

2.THE SERVICE TRENCH SHALL BE EXCAVATED DIRECTLY TOWARDS THE TREE ALONG A RADIUS TO AT LEAST
1000 FROM THE TRUNK OR TO A DISTANCE WHERE ROOTS LARGER THAN 25 DIAMETER ARE ENCOUNTERED,
WHICHEVER DISTANCE IS FARTHER AWAY FROM THE TRUNK.

3. THE SERVICE TRENCH WITHIN TREE PROTECTION ZONE SHALL BE EXCAVATED USING HAND-HELD TOOLS

4.ANY ROOT CUTTING DURING TRENCH EXCAVATION WITHIN TREE PROTECTION ZONE SHALL BE CARRIED OQUT
USING HAND-HELD TOOLS, AND THE FOLLOWING PROCEDURES SHALL BE FOLLOWED IMMEDIATELY AFTER ROOT
PRUNING UNTIL BACKFILLING IS COMPLETE TO PREVENT THE CUT AND EXPOSED ROOTS FROM DRYING OUT:

() HANG THICK HESSIAN OR OTHER POROQUS, ABSORBENT FABRIC FROM THE TOP OF THE CUT SURFACE
OVER THE EXPOSED ROOTS AND SOIL, AND

(i MIST THE HESSIAN OR FABRIC IN A FREQUENCY THAT KEEPS THE ROOTS AND SCIL AT THE CUT
SURFACE MOIST ALL THE TIME

RA .
TRENCHING AND TUNNELING ALONG RADI OF PRESERVED TREE ° Twﬁb}a(sigm ,










































































