PARTICULAR SPECIFICATION LS-01

Landscape Hardworks, Softworks and Establishment Works

Section

Title


Page

1.0

General





PS.LS-01/1
2.0

Paving Materials




PS.LS-01/2 to PS.LS-01/3






3.0

Landscape Furniture




PS.LS-01/4 to PS.LS-01/6

4.0

Soft Landscape Works




PS.LS-01/7

5.0

Elderly Fitness Equipments



PS.LS-01/8 to PS.LS-01/14
6.0

Fence






PS.LS-01/15
7.0                    Tree Risk Assessment                                                        PS.LS-01/16 to PS.LS-01/33
8.0                     Maintenance Schedule &                                                  PS.LS-01/34 to PS.LS-01/40

                          Instruction for Soft Landscape works

9.0

Signage





PS.LS-01/41 to PS.LS-01/52

PARTICULAR SPECIFICATION

SECTION PS (LS)-1-PARTICULAR SPECIFICATION FOR LANDSCAPE WORKS AND ESTABLISHMENT WORKS

1.0
GENERAL

1.1
General and Particular Specification

 The specification for the building works shall be the General Specification for Building by Architectural Services Department (2007 edition) and all current amendment thereto.

All clauses of the Specification shall be applicable to this Contract unless expressly stated in this Particular Specification. Provided where there are any discrepancies between the Specification and Particular Specification, the latter shall take precedence over the former.

This section should be for both soft and hard landscape works in outdoor areas.

1.2 
Equivalent Product

The Contractor is allowed to use the proprietary products mentioned in the specification or other products having equivalent functions or performance. If the Contractor intends to use the intellectual property rights of another party in performing his obligations under the Contract, appropriate license should be obtained from the relevant owners.

1.3 
Spare Materials

The Contractor is to allow for materials 5% spare materials including all paving materials. The contractor is required to furnish the architect and client a list of spare materials during the handover of the site upon completion.

1.4 
Reference with Architectural Works

The Particular Specification for Landscape Works should be read in conjunction with that for Architectural Works. 

	2.0
	Paving Material

	         
	2.1    Scope of Work
The construction works involve the provision of local open space at Chung Yee Street, Kowloon City District, Kowloon

The contractor is required to address and make good of the adjoining areas outside the site up to the agreed boundary line. For some area which has a connection to some of the existing adjacent   areas and/or facilities, the contractor is also required to address the details and design of the connection. Section 3.0 also outlines the special requirements for details.   

2.2        2.2    Types of Paving

Precast pebbles paving in recycled rubber/plastic material for foot massage path. Supply and lay the recycled rubber/plastic pebbles paving with pattern strictly in accordance with the Drawings and in accordance with the relevant manufacturer’s recommendations. The pebble shall be as shown on tender drawing AB/2263/EW008. Colour of pebble should be grey and to provide varying sets of difficulties – location to be specified on site. The paving should be constructed with recycled rubber/plastic powder, formed into high-density mat by thermal-pressure molding, the coloring should be UV resistant, non porous & non-toxic, and should also be ISO 9001 certified. 

Clay paving blocks paving – supply and lay clay paving blocks with paving pattern strictly in accordance with the Drawings and in accordance with the relevant manufacturer’s recommendations. The paving should include the colours beige, grey and brown and the size of the paving block should be 200mm (L) x 100mm (W) or approved equivalent. Details should be in strict compliance with the requirements of relevant Highways Department Standard drawings for clay paving. 

C

Recycled Plastic Wood Decking floor finish –supply and lay recycled plastic wood decking strictly in accordance with the contract drawings and in accordance with the relevant manufacturer’s recommendations. The recycled plastic wood deck should be the proprietary recycled plastic wood decking in dark brown colour 30mm thick, 100mm wide and in random length of 1000mm to 2000mm (or other timber types as approved by architect with conditions to match Architectural Specifications PS (A)-01 Clause 7.13 and Clause 7.16) material and should be provided with groove in surface for all kinds of outdoor application. The material shall be able to stand the following tests:

Static Coefficient of Friction:


ASTM C1028-96, minimum 0.65 Kgf
Water Absorption and Thickness Swell Test:
ASTM D1037-96a, minimum 1.88%

Thickness Swell Test:



ASTM D1037-96a, minimum 0.22%

Linear Thermal Expansion Coefficient:

ASTM D696-98, minimum 6.32 x 10-5 ℃
Hardness Test (Shore D):


ASTM D2240, minimum 71
Compression Strength:



ASTM D695-91, minimum 24.44 Mpa

Flexural Strength:



ASTM D790-03, minimum 25.99 Mpa

Flexural Modulus:



ASTM D790-03, minimum 3700 Mpa

Tensile Strength:



ASTM D638-08, minimum 15.64 Mpa

Elastic Modulus:



ASTM D638-08, minimum 4149 Mpa

Elongation at break:



ASTM D638-08, minimum 0.58%

Specific Gravity:



ASTM D792-98, minimum 1178 Kg/m3

Flammability test:



EN71:Part2:1993 General, non-inflammable

Flexural creep test



ASTM D6112-97, <1.09% Strain in the 





Outer Fiber at the Mid-span

All fixing like screws or nails should not be exposed or visible from the users or these fixing be shielded with architect’s approved plug of same material and colour. Runners underneath the decking should be in the same recycled plastic wood material with minimum dimension of 45mm x 45mm and 450mm c/c spacing (subject to contractor’s supporting calculations and final verification on site). Support of the decking should be constructed of minimum 120mm dia. High density rubber and with epoxy adhesive at bottom. (Or other approved equivalent construction method. The products should be made from recycled resources and should be provided with relevant certificate & supporting documents.

Proprietary stamp on pattern concrete paving– supply and lay proprietary paving stamp on pattern concrete paving strictly in accordance with the Drawings and in accordance with the relevant manufacturer’s recommendations. The paving pattern should follow the paving pattern plan in the Landscape Tender Drawing Set. The complete system provided by the contractor should include the entire concrete paving layer, associated substrate(s) to be 75mm thick, pigment surface layer to be 10mm thick, sealers, hardener, bond-breaker, finishing aid, stain, coating, concrete dye, concrete overlay and others that is necessary for the completion of the system. 

d. Natural stone close joint paving –supply and lay natural stone close joint paving pattern strictly in accordance with the Drawings and in accordance with the relevant manufacturer’s recommendations. The paving pattern should be in natural granite stone in flamed finish or other appropriate finishes surface as specified in the working drawing. The paving should be laid in close joint and applied with proper sealers.



	
	2.2    2. 2.3    Manhole Cover 

All manhole covers should be finished with the same paving as the adjacent paving materials to the channel and manhole covers in accordance with the design intention as shown in the drawings, paving pattern to match adjacent pattern. The contractor is required to provide and install manhole covers in compliance with the requirements of relevant Highways Department standard and contract drawings. Architect’s approval for shop drawings and samples are also required before the contractor is allowed to fabricate the products in large quantity. Samples of plastic plugs for keyholes shall be supplied for approval by architect.

2.4    Shop Drawings



	
	Submit shop drawings and schedule for approval by the Architect showing the applications, any provisions to be allowed for by other trades, suppliers and / or fabricators, all for the proper co-ordination and finishing of the installations.  No fabrication could be commenced until all shop drawings and schedule have been approved by the Architect.


	
	2.5    Samples



	
	Contractor to submit samples of all specified materials with full color range for the Architect’s selection and obtain approval.  Wherever sizes of the actual paving materials differ from those stated on the Drawings or in the specifications, the Main Contractor is required to bring this to the attention of the Architect.  The Architect shall have the right to revise the paving layout and/or pattern to match deviations proposed by Contractor, and in such case,  the Contractor shall allow sufficient time for such revisions and lay the paving accordingly.  No additional cost to the Contract Sum or time extension is to be involved due to such revisions.

	
	The Main Contractor shall submit paving samples properly mounted on sample boards for the Architect’s approval within six weeks of the contract award. Samples of paving are to be 2 meters by 2 meters as a mock-up on site.

	
	Samples shall be submitted for approval prior to any delivery in bulk. All materials to comply with manufacture specifications. Any material that does not tally with the sample and specification will be rejected and the Main Contractor shall replace the material immediately at his own expense.

Claim for delay to the contract programme will not be accepted as a result of any material failing to meet the approved standard.

All samples must be submitted undamaged and in good condition.


3.0
Landscape Furniture

3.1    
General

	
	The contractor is required to supply and install the following landscape furniture as described in the drawings and specification:

a. Benches –proprietary recycled plastic products and should be provided with back rest. Proper anchoring onto the ground is required. Additional arm rest divider is required whenever the benches is longer than 1.2 meter in length. Refer to PSA-01 for further specifications.

b. Litter bin and recycled bin – Proprietary products of litter bins should not exceed 1.1 meters high by 0.45 meters wide and be provided with a lid on top and the replacement of the litter basket should be accessed on side of the litter bin. There are two types of proprietary bins- ordinary litter bins and recycled bins. Recycled bin dimensions should not exceed 1.65 meters length and 1.1 meters tall. Refer to PSA-01 for further specifications.

c. Water point shall be fair face concrete finish, with installation of the correct dimensions as seen on detail drawings.
d. Chess Table and Seat – made of steel and recycled plastic planks with stainless steel chess marking plate. The marking will be etched with colour infill on the said plate.
e. Plant labels- Acrylic trees and shrubs labels are provided in accordance with the drawings. 


	Landscape furniture items
	Quantity

	Benches
	61

	Water points
	7

	Litter bins
	10

	Chess Table & Seats
	3 tables & 6 seats 

	Recycled bin combination sets
	3 sets

	Plant labels
	Approximate 40 nos.


	
	All specification for electricity connection and wiring should be referred to E/M specification. 
The contractor shall submit shop drawings for all site furniture with exact dimensions (refer to figures seen in Landscape furniture items table seen above). The tender price is deemed to include all the furniture required. The contractor is also reminded that it should be read in conjunction with the contract drawings of relevant trade(s) to ascertain the number and details of the landscape furniture.


3.2
Details of the Landscape Furniture

	
	(A)
The landscape furniture items as shown and listed in the Landscape Material schedule and Furniture Plan drawing of the tender drawings shall be supplied and installed at the expense of the Main Contractor by a Specialist Contractor to be approved by the Architect.  Colors, finishes, profiles, etc. shall be selected by the Architect.  The Specialist Contractor must prove his capacity and have relevant experience(s) in satisfactory installation of the specified landscape furniture system in Government open space or recreational projects.

(B)
Shop Drawings

Submit shop drawings and schedule for all landscape furniture showing the applications and installation of the selected landscape furniture, any provisions to be allowed for by other trades, suppliers and / or fabricators, all for the proper co-ordination and finishing of the installations for approval by the Architect.  No fabrication could be commenced until all shop drawings and schedule have been approved by the Architect.

(C)
Samples

Submit full size samples for each furniture item complete with all necessary accessories in accordance with the approved shop drawings and specification for approval by the Architect.  No fabrication could be commenced until all samples have been approved by the Architect.

(D)
Manufacturer’s product data sheets, catalogue and full specification for surface preparation and method of application shall be submitted for approval by the Architect; and supporting laboratory test data / performance test reports by an approved laboratory shall also be submitted to the Architect for checking prior to signing of the sale contract.

(E)
Surfaces to receive landscape furniture systems shall be examined and installation of furniture works shall not be started until all defects have been corrected.

(F)
The Specialist Contractor shall notify the Main Contractor in writing of any and all conditions which, in his opinion, will affect the satisfactory execution of his works or endanger its permanence.  It is the responsibility of the Main Contractor to rectify all such conditions.

(G)
Commencement of installation of furniture systems shall constitute acceptance by the Specialist Contractor that the surface & structural works is in proper condition to receive the installation of furniture works.

(H) After such acceptance, the Specialist Contractor shall be liable for correcting all works and materials which produce an unsatisfactory installation of furniture systems.



3.3
Planter walls and Kerb Planters

	
	All planters shall be built and finished to the style as illustrated in the drawings unless otherwise specified in the Contract.  Materials for planters shall be those as illustrated in the detail drawings and/ or specified in the Materials Schedule.



3.4
Submission of Sample Materials for Planters

	
	The Contractor shall submit samples of materials with the colour, veining, surface texture and general characteristics of the appearance to the approval of Architect.


The following particulars of the proposed materials and method of construction for the paving and wall finishes shall be submitted to the Architect:

(a) name and address of the manufacturer,

(b) A certificate from the manufacturer of the name and the location of the quarry and a declaration if the product has been subjected to a chemical treatment to the surface and to the whole and the type of treatment.

(c) a certificate from the manufacturer showing the manufacturer’s name and the date and place of manufacture and including results of tests for:

· the compressive strength,

· 
slip/ skid resistance,

· 
water absorption, and

· 
dimensions

The particulars shall be submitted to the Architect for approval at least one month prior to the ordering of the materials for installation.

Following acceptance of the approved samples and text results, the Contractor shall ensure the materials are consistent throughout the contract works.  From each lot of supplied materials, a reference material shall be submitted to the Architect for approval and retention for later inspection.

Sample of each type of materials shall be submitted to the Architect for approval of the source and type of each material at the same time as particulars of the materials are submitted.

The Contractor shall submit a mock up panel for the materials in sufficient size or to the size as specified which will be a benchmark for the standards of laying and installation.


3.5    Waterproofing in Planter walls 

	
	Whenever the planter wall is above ground, internal side of the planter wall should be applied with a layer of architect’s approved waterproofing layer product. All planters should be built as open bottom type to facilitate proper drainage performance unless otherwise specified.


4.0    SOFT LANDSCAPE WORK 

	
	The contractor is required to carry out soft landscape works in accordance with approved tree felling and transplanting report, drawings and specifications and in accordance with the ArchSD General Specification for Buildings (2007 Edition). All soft landscape works should be carried out by an approved competent landscape specialist sub- contractor.


4.1    Tree Risk Assessment

	
	The contractor shall conduct and submit a tree risk assessment annually during construction period until the end of the Establishment Period or as requested. Submission format and detail of Tree Risk Assessment shall conform to Section 8.0 of this Particular Specification or the latest specifications issued by DEVB.


5.0
Elderly Fitness Equipments 

5.1   
General Requirements for Elderly Fitness Equipments 
	
	The general requirement for the equipments are as follows:

	
	· The design of the fitness equipments shall comply with the proposal as indicated in Drawings and Specification or any approved equivalent.  The Contractor shall provide 3 separate proposals from supplier / manufacturers for approval by Architect.

· The design, installation, maintenance and operation of the equipment should be complied with the safety standard equipments. 

· The proposed equipment shall cater for elderly people with disabilities as per pertinent requirements such as 

· -Building Department’s Design Manual on ‘Barrier Free Access, 2008’,

· -ASTM F1487

· The material and structure of the equipment should be low maintenance cost, durable, vandal proof and easily cleansed. It is recommended that, where possible, products shall be recyclable, and/or made from recycled materials. 

· Footing of component post must be ground fixing according to the manufacturer’s recommendation.

· Written statement on the maximum “free height of fall” (as defined by BS EN 1177) or the maximum “fall height”  (as defined by ASTM F1487) from the manufacturer on the selected play equipment (inclusive of each component of a composite/modular equipment) shall be provided by the Contractor,

· Document and Certificates issued by an accredited international testing laboratory to prove that all the equipment and safety matting are in compliance with the recognized international standards should be submitted before installation.

· The diameter of the handgrip of rings, stairs and platforms, according to ASTM and EN standard, should between 24-39mm and 16-45mm respectively.

· Warning signage shall be ground fixing with 50mm stainless steel tube for frame and 3mm stainless steel plate for wording or approved equivalent. Appropriate warning signs shall be submitted with proposed layout and construction details.

· Adequate drainage is vital for the future maintenance of the equipment and the proposed drainage details shall be submitted by the Contractor. 

· Safety margin to match current LCSD standard


5.2   
Requirements for Elderly Fitness Equipments 

	
	Elderly Fitness Equipments Area: located in the site 

 Components : 
A. 6 sets of fitness equipments. 

B. The theme of the elderly fitness equipment area should be in line with the theme of the open space and harmony theme. 

C. Design, installation, maintenance and operation of the equipments shall be approved by LCSD and should be complied with relevant safety requirement. 

D. The material and structure of the equipments should be of low maintenance cost, durable, vandal proof and easily cleansed. 

E. More detailed description of elderly fitness equipments in the item 5.3 and 5.4
* All areas in above shall include appropriate safety mats and warning and instruction signs.  

	
	Other Requirement 



	
	A. The design, manufacturing and installation of equipment and safety mats should comply with latest international safety standards EN1176, EN1177, ASTM F1487 or equivalent for all aspects including safety margin, critical fall height, separation of age group, use of material, protrusion avoidance and signage etc. 
B. Document and Certificates issued by an accredited international testing laboratory to prove that the equipment and safety mats are in compliance with the recognized international standards should be submitted. 

C. Free warranty for maintenance of equipment and safety mats for five years is required.  The warranty should cover rectification, and/or replacement of materials/components which show defects on structural stability, material performance, shrinkage, de-coloring and/or reduction in safety mats size, thickness during warranty period. 

D. All equipment should rest on new footings, and surface-mounted on concrete base is not allowed.  Each footing should be 600mm deep minimum and its size and design should be approved by a Registered Structural Engineer engaged by contractor office. 
E. Warranty to all equipment and safety mats are required.  Certificate should be submitted on completion of works. 

F. Updated certificate of laboratory report of safety surfacing tiles should be submitted. 
G. All fixing screw of the elderly fitness equipments should be in stainless steel.  


5.3   Requirements for Elderly Fitness Equipment

	
	

	
	Components : 

6 sets such as Rider, Twister, Tai Chi Wheels and etc. as proposed by the supplier. 

Design Requirements 

· Theme should be in line with the entire theme of the open space design.

· 1 no. signage for ‘Fitness Corner for the Elderly – A Guide to Fitness Exercise’, at a size of 1600mm x 1000 mm x 2000mm(H) with acid etched letter including LCSD logo in stainless steel plate with frame fixed by welding.

5.4   Proposed List for the Equipments 

The Elderly Fitness Equipments and the Fitness Equipments should be the same as one of the options as the following specialized equipments or the equivalent. Please note that the final decision of the chosen option is based on the Architect and the contractor is not entitled to claim additional cost and time due to the selection and the final decision made by the Architect.

The contractor is also required to provide sufficient information not limited to photos, catalogues, samples, other relevant documents and etc. that facilitate the selection process of the Architect.

Elderly Fitness Equipment （Option 1）

1.
Color: Deep Chocolate with Copper Accents

Fixing: Ground Fixed


Each Wellness Station is comprised of three sides.  Two sides offer activities with two different levels of challenge.  The third side can be either a standard informational panel or a wheel chair/ADA accessible activity panel.


The instruction sign (dimension: 570mmW x 1330mmH) in Chinese, English with illustration as instruction. 
Material Specification

· Hardwares: All exposed fasteners shall be 18-8 grade stainless steel. (300 series) capped lock nuts, which cover bolts ends, shall be included. Tamper-resistant hardware is utilized on principle clamping mechanisms.  Clamp connection disassembly and using drive rivets eliminates slippage.  Physical locking devices are used on all exposed and accessible connection points, such as lock nuts.  A nylon thread-locking patch is applied to certain hardware.  Liquid thread-lock is also used to hinder fastener removal.
· Tubing: Tubing shall be cold rolled, electric resistance welded tubing.  Tubing shall be triple coated for maximum exterior protection: Hot-dipped uniform zinc galvanized coating.  Chromate conversion coating.  Clear polymer coating.  Tubing shall have a corrosion resistance zinc-rich paint interior coating.
· Super durable Polyester Powder Coat Finish: Powder coating is electrostatically applied at a thickness of 2 to 5 mils (.002 - .005) prior to finishing.  Finish quality conforms to ASTM Specifications: B-117 (Salt spray Resistance Test), D-2794 (Impact Resistance Test), D-1734 (Mandrel Flexibility Test), D-2247 (Humidity Resistance Test), D-822 (Weatherability Test), D-3363 (Pencil Hardness Test), D-3359-B (Crosshatch Adhesion Test), and D-2454 (Overbake Resistance Test) D-522 (Conical Mandrel), D-523 (Gloss - 60º).
· Rotationally Molded Plastic Parts: Shall be rotationally molded from color-compounded, linear low density, Exxon CP-812 polyethylene.  Polyethylene shall be ultraviolet (UV) stabilized to UV-8.  Cross sectional design shall be .25” (6mm) nominal thickness, double wall construction.  ASTM Specifications: D-1238 (Melt Index), D-1505 (Material Density), D-638 (Tensile Strength), D-648 (Heat Distortion Temperature) D-790 (Flexural Modulus), D-1693 (Environmental Stress Crack Resistance), D-2565 (Ultraviolet).
1.1 Station 1- 1set

1
Main Components:

-   Upper Body Stretch & Strengthen – Wheelchair Users: To increase strength of upper body; by utilizing spring-controlled handles with smooth resistance; provide instruction of stretch to prepare users for the exercise; the height of the exercise equipment is 1100mmH to suit users in a wheelchair

· Upper Body Warm-Up – Arm Pedaling: To increase body temperature and heart rate, prepares upper body for further exercise; provide an arm pedaling exercise utilizing a magnetic resistance mechanism and with a dial for adjusting the resistance 

-   Standing Push-Up: To strengthen arm and chest muscles; by providing inclining 2 nos. of handrail (1200mmL) place vertically in front of the users for stabilization; provide instruction for 2 different levels of challenge for users of different capabilities

1.2 Station 2- 1 set


1 set

Main Components:

 -  Lower Body Stretch – Calf Stretch: To increase range of motion for lower legs; by utilizing foot ramps with anti-skid standing surface; with 2 different height of ramps for users with different capabilities and with 2 nos. of handrail (1200mmL) place vertically in front of the users to provide stabilization

-  Pull-Up – Wheelchair Users: To strengthen arm and chest muscles; by providing a pair of lifting bars for exercise and stabilization
· Bench Stepper – Standard User: To increase lower body strength and balance, by utilizing a stepping platform with 330W x 457mmL and place at 154mm height level.  The platform is made of skid resistance stepping surface and with 2 nos. of handrail (1200mmL) place vertically in front of the users to provide stabilization for users.

2.                 EPDM Safety Matting without Graphic (Area to be referred to the drawings)

Color: Dark green, green and beige 

PU bound selected EPDM granule with 4 nos. 15mm wide and 10mm deep semi-circular grooves moulded into the base surface for drainage.

Dimensions: 500 x 500 x 50mmThick 

1.
Elderly Fitness Equipment (option 2)

Color: Deep Chocolate with Copper Accents

Fixing: Ground Fixed


Each Wellness Station is comprised of three sides.  Two sides offer activities with two different levels of challenge.  The third side can be either a standard informational panel or a wheel chair/ADA accessible activity panel.


The instruction sign (dimension: 570mmW x 1330mmH) in Chinese, English with illustration as instruction. 

Material Specification

· Hardwares: All exposed fasteners shall be 18-8 grade stainless steel. (300 series) capped lock nuts, which cover bolts ends, shall be included. Tamper-resistant hardware is utilized on principle clamping mechanisms.  Clamp connection disassembly and using drive rivets eliminates slippage.  Physical locking devices are used on all exposed and accessible connection points, such as lock nuts.  A nylon thread-locking patch is applied to certain hardware.  Liquid thread-lock is also used to hinder fastener removal.
· Tubing: Tubing shall be cold rolled, electric resistance welded tubing.  Tubing shall be triple coated for maximum exterior protection: Hot-dipped uniform zinc galvanized coating.  Chromate conversion coating.  Clear polymer coating.  Tubing shall have a corrosion resistance zinc-rich paint interior coating.
· Superdurable Polyester Powder Coat Finish: Powder coating is electrostatically applied at a thickness of 2 to 5 mils (.002 - .005) prior to finishing.  Finish quality conforms to ASTM Specifications: B-117 (Salt spray Resistance Test), D-2794 (Impact Resistance Test), D-1734 (Mandrel Flexibility Test), D-2247 (Humidity Resistance Test), D-822 (Weatherability Test), D-3363 (Pencil Hardness Test), D-3359-B (Crosshatch Adhesion Test), and D-2454 (Overbake Resistance Test) D-522 (Conical Mandrel), D-523 (Gloss - 60º).
· Rotationally Molded Plastic Parts: Shall be rotationally molded from color-compounded, linear low density, Exxon CP-812 polyethylene.  Polyethylene shall be ultraviolet (UV) stabilized to UV-8.  Cross sectional design shall be .25” (6mm) nominal thickness, double wall construction.  ASTM Specifications: D-1238 (Melt Index), D-1505 (Material Density), D-638 (Tensile Strength), D-648 (Heat Distortion Temperature) D-790 (Flexural Modulus), D-1693 (Environmental Stress Crack Resistance), D-2565 (Ultraviolet).
1.1
Station 1- 1set 


1 set


Main Components:

· Upper Body Warm-Up – Wheelchair Users: To increase body temperature and heart rate, prepares upper body for further exercise; provide an arm pedaling exercise utilizing a magnetic resistance mechanism and with a dial for adjusting the resistance; the height of the arm pedaling mechanism is 900mmH to suit users in a wheelchair

· Upper Body Stretch & Strengthen – Advanced Users: To increase strength of upper body; by utilizing spring-controlled handles with smooth resistance; provide instruction of stretch to prepare users for the exercise and have an statement advising beginners to do exercise at the “standard user version first”

· Balance – Partial Lunge: To increase sense of balance and with 2 nos. of handrail (1200mmL) place at a sloping level allowing users to simulate a partial lunge while provide stabilization

1.2
Station 2- 1 set 


1 set


Main Components:

· Bench Stepper – Standard User: To increase lower body strength and balance, by utilizing a stepping platform with 330W x 457mmL and place at 154mm height level.  The platform is made of skid resistance stepping surface and with 2 nos. of handrail (1200mmL) place vertically in front of the users to provide stabilization for users.

· Balance – Single Leg Balance: To increase sense of balance and to build foot and leg strength and with 2 nos. of handrail (1200mmL) place vertically in front of the users to provide stabilization for users
· Lower Body Stretch – Hamstring Stretch: To increase hamstring flexibility; by utilizing 2 stools of different height is 457mmH and 406mmH.  The stools have areas of 388mmW x 431mmL and with 2 nos. of handrail (1200mmL) place vertically in front of the users to provide stabilization’
2.
EPDM Safety Matting without Graphic (Area to be referred to the drawings)


204 m²


Color: Dark green, green and beige


PU bound selected EPDM granule with 4 nos. 15mm wide and 10mm deep semi-circular grooves moulded into the base surface for drainage.


Dimensions: 500 x 500 x 50mmThick 

1.
Elderly Fitness Equipment (Option 3)
Color: Deep Chocolate with Copper Accents 

Fixing: Ground Fixed


Each Wellness Station is comprised of three sides.  Two sides offer activities with two different levels of challenge.  The third side can be either a standard informational panel or a wheel chair/ADA accessible activity panel.


The instruction sign (dimension: 570mmW x 1330mmH) in Chinese, English with illustration as instruction. 
Material Specification

· Hardwares: All exposed fasteners shall be 18-8 grade stainless steel. (300 series) capped lock nuts, which cover bolts ends, shall be included. Tamper-resistant hardware is utilized on principle clamping mechanisms.  Clamp connection disassembly and using drive rivets eliminates slippage.  Physical locking devices are used on all exposed and accessible connection points, such as lock nuts.  A nylon thread-locking patch is applied to certain hardware.  Liquid thread-lock is also used to hinder fastener removal.
· Tubing: Tubing shall be cold rolled, electric resistance welded tubing.  Tubing shall be triple coated for maximum exterior protection: Hot-dipped uniform zinc galvanized coating.  Chromate conversion coating.  Clear polymer coating.  Tubing shall have a corrosion resistance zinc-rich paint interior coating.
· Superdurable Polyester Powder Coat Finish: Powder coating is electrostatically applied at a thickness of 2 to 5 mils (.002 - .005) prior to finishing.  Finish quality conforms to ASTM Specifications: B-117 (Salt spray Resistance Test), D-2794 (Impact Resistance Test), D-1734 (Mandrel Flexibility Test), D-2247 (Humidity Resistance Test), D-822 (Weatherability Test), D-3363 (Pencil Hardness Test), D-3359-B (Crosshatch Adhesion Test), and D-2454 (Overbake Resistance Test) D-522 (Conical Mandrel), D-523 (Gloss - 60º).
· Rotationally Molded Plastic Parts: Shall be rotationally molded from color-compounded, linear low density, Exxon CP-812 polyethylene.  Polyethylene shall be ultraviolet (UV) stabilized to UV-8.  Cross sectional design shall be .25” (6mm) nominal thickness, double wall construction.  ASTM Specifications: D-1238 (Melt Index), D-1505 (Material Density), D-638 (Tensile Strength), D-648 (Heat Distortion Temperature) D-790 (Flexural Modulus), D-1693 (Environmental Stress Crack Resistance), D-2565 (Ultraviolet).
1.1
Station 1- 1set 


1 set


Main Components:

· Upper Body Warm-Up – Wheelchair Users: To increase body temperature and heart rate, prepares upper body for further exercise; provide an arm pedaling exercise utilizing a magnetic resistance mechanism and with a dial for adjusting the resistance; the height of the arm pedaling mechanism is 900mmH to suit users in a wheelchair

· Balance – Partial Lunge: To increase sense of balance and with 2 nos. of handrail (1200mmL) place at a sloping level allowing users to simulate a partial lunge while provide stabilization

· Bench Stepper – Standard User: To increase lower body strength and balance, by utilizing a stepping platform with 330W x 457mmL and place at 154mm height level.  The platform is made of skid resistance stepping surface and with 2 nos. of handrail (1200mmL) place vertically in front of the users to provide stabilization for users.

1.2
Station 2- 1 set 


1 set


Main Components:

· Back Strengthening: To strengthen muscles along the spine; provide 2 nos. of handrail (1200mmL) place vertically in front of the users to provide stabilization for users.
· Upper Body Stretch & Strengthen – Wheelchair Users: To increase strength of upper body; by utilizing spring-controlled handles with smooth resistance; provide instruction of stretch to prepare users for the exercise; the height of the exercise equipment is 1100mmH to suit users in a wheelchair

· Bench Stepper – Advance Users: To increase lower body strength and balance, by utilizing a stepping platform with 330W x 457mmL and place at 230mm height level.  The platform is made of skid resistance stepping surface and with 2 nos. of handrail (1200mmL) place vertically in front of the users to provide stabilization for users.

2.
EPDM Safety Matting without Graphic (Area to be referred to the drawings)


204 m²


Color: Dark green, green and beige


PU bound selected EPDM granule with 4 nos. 15mm wide and 10mm deep semi-circular grooves moulded into the base surface for drainage.


Dimensions: 500 x 500 x 50mmThick 

1

Safety Matting

(pattern to be submitted for architect’s approval)

Area to be referred to the drawings

2

Upper body Warm up for wheelchair user

1 no

3

Partial Lunge (Standard)

1 no

4

Bench Stepper (Standard)

1 no

5

Back Strengthening

1 no

6

Upper body Stretch and Strengthening for wheelchair user

1 no

7

Bench Stepper (advanced)

1 no

Elderly Fitness Area (optional choice)

1

Safety Matting

(pattern to be submitted for architect’s approval)

Area to be referred to the drawings 

2

Upper body Warm up (Standard)

1 no

3

Standard Push up

1 no

4

Bench Stepper (Standard)

1 no

5

Calf Stretch

1 no

6

Upper body Stretch and Strengthening for wheelchair user

1 no

7

Pull up for wheelchair user

1 no




6.0 Fence

6.1 General Requirements

	
	Boundary Fence Features- 1300 mm high fence wall:

Supply and Construct 1300 mm high fence wall and 2000 mm high gate (or other specified height approved by architect) along the entire boundary of the site. Gates should be provided in accordance with the drawing. All the boundary fence wall design should be made of GMS rectangular hollow sections and/or the relevant GMS members (plate or rod or etc.) in PU factory sprayed paint on appropriate etching primer.




6.2    Shop Drawings

	
	Submit shop drawings and schedule for approval by the Architect showing the applications, any provisions to be allowed for by other trades, suppliers and / or fabricators, all for the proper co-ordination and finishing of the installations.  No fabrication could be commenced until all shop drawings and schedule have been approved by the Architect.


7.0   Tree Risk Assessment

The Contractor shall comply with ArchSD’s Particular Specification for Tree Risk Assessment attached below:

Notes:

1. This Particular Specification (PS) shall be read in conjunction with

· General Specification for Building 2007 Edition (GS2007), or

· General Specification for Building 2003 Edition (GS2003) together with Particular Specification for Preservation and Protection of Existing Trees (PS 2003) (promulgated by the then Environment, Transport and Works Bureau for use in government works contracts).  

2. This sample PS is developed based on the requirements in the ‘Guidelines for Tree Risk Assessment & Management Arrangement on an “Area Basis” and on a “Tree Basis” (Issue Date: 15 December 2011)’ promulgated by the Development Bureau (DEVB) and is for general reference only.  Project officers may make necessary amendments including additions or deletions to the PS to suit the specific needs of their projects so long as the requirements in DEVB’s guidelines are complied with.

3. DEVB has agreed that the ArchSD contracts which have been awarded or those for which tenders have been invited at the time of promulgation of the 2012 Guidelines (i.e. 15 December 2011) could be exempted from the new requirements of the Inspection Officers and the Endorsement Officers (for Forms 1 and 2) stipulated in the 2012 Guidelines. 

4. For the stonewall trees under ArchSD's purview (i.e. those on ArchSD-maintained SIMAR features or within ArchSD's construction sites of new works projects), Clause D of this PS is to be replaced by the tree risk assessment methodology including the inspection form developed by Prof. C Y Jim specifically for stone wall trees.

Sample Particular Specification for Tree Risk Assessment (PS):
.

	
	
	TREE RISK ASSESSMENT



	Tree risk assessment arrangement
	A
	1 When instructed by the Architect, the Contractor shall carry out tree risk assessment in accordance with this PS.  For the purpose of tree risk assessment, 
1.1 “tree” is defined as any plant, which can be  newly planted plant, or existing plant preserved at its existing location or to be transplanted to other location or transplanted from other location, with the diameter of the trunk of the plant measuring 95 mm or more at a height of 1.3 m above ground level and shall be subject to the tree risk assessment arrangement;  and

1.2 “Target” is defined as any person or property that would likely be affected by the failure of a tree.


	
	
	2 Tree risk assessment arrangement shall be carried out with reference to the following – 

2.1 The flowchart showing the concept of tree risk assessment arrangement in Appendix A;  and

2.2 The ‘Guidelines for Tree Risk Assessment & Management Arrangement on an “Area Basis” and on a “Tree Basis” (Issue Date: 15 December 2011)’ promulgated by the Development Bureau (DEVB) in Appendix B.


	
	
	3 Updated versions of Form 1 (Tree Group Inspection Form) referred to in Clause C of this PS and Form 2 (Tree Risk Assessment Form) referred to in Clause D of this PS are shown in Annex A and Annex B respectively in Appendix B.  For the purpose of this PS, “Last Inspection Date” in Form 1 (Tree Group Inspection Form) and Form 2 (Tree Risk Assessment Form) refers to the date of last inspection specifically for tree risk assessment.



	
	
	4 The provisions contained in this PS shall prevail over the provisions contained in the document in Appendix B.


	“Area Basis” assessment
	B
	1 When instructed by the Architect, the Contractor shall carry out “Area Basis” assessment in the assessment areas as specified.
2 The “Area Basis” assessment shall be carried out by an Inspection Officer who shall have at least 2 years’ site working experience in tree care, have received training on tree risk management or supervision of tree works and be familiar with the tree risk management and assessment arrangement as detailed in Appendix B to this PS.  

3 The name, qualifications, working experience and other personal particulars of the Inspection Officer for “Area Basis”  assessment shall be submitted to the Architect before commencement of the “Area Basis” assessment.

4 The Inspection Officer for “Area Basis” assessment shall provide all necessary tools, equipment and transportation for carrying out the “Area Basis” assessment.

5 The “Area Basis” assessment shall include categorization of all areas within the assessment area into different tree risk management zones in accordance with the following table and submission of the “Area Basis” assessment report as referred to sub-clause 7 of this clause:


	Use of influence area by target
	Probability of risk
	Tree risk management zone

	Intensive use

Areas of high traffic flow and high pedestrian flow such as public park, playground, crowded street, busy carriageway, school, etc.
	High
	Category I

	Infrequent use

Areas of low traffic flow and low pedestrian flow such as road verge of limited access, countryside road, village footpath, etc.
	Medium
	Category II

	Rare use

Areas of very rare access such as inaccessible area, remote countryside slope, dense woodland, maintenance access with no public access, etc.
	Low
	Category III

	
	
	

	
	
	6 Before commencement of the “Area Basis” assessment, the Contractor shall submit a programme showing the phasing of the categorization of all areas within the assessment area into different tree risk management zones and the submission of the “Area Basis” assessment report as referred to sub-clause 7 of this clause, to the Architect.  The Contractor shall submit the revised programme when instructed by the Architect.



	
	
	7 The Contractor shall submit the “Area Basis” assessment report comprising a plan showing the following:

7.1 the boundary of the assessment area and the demarcation of the assessment area into different tree risk assessment zones as referred to in sub-clause 5 of this clause, using different colours / legends / annotations; and

7.2 The location of all trees within each of the tree risk assessment zones.
8 The “Area Basis” assessment report referred to in sub-clause 7 of this clause shall be in the form of an A4-sized, bound report which shall bear a report cover indicating the Contract number, the Contract title, the date of the report, and that the report is prepared by the Inspector Officer for “Area Basis” assessment.  The format of the report shall be agreed by the Architect prior to submission of the report.

9 The Contractor shall submit two copies of the draft “Area Basis” assessment report according to the programme referred to in sub-clause 6 of this clause, to the Architect for comment.  The Architect shall provide comment(s) to the Contractor within 14 days of receipt of the draft “Area Basis” assessment report, and the Contractor shall submit the final “Area Basis” assessment report with all received comments duly incorporated within seven days of receipt of the Architect’s comments to the Architect.  



	Tree Group Inspection (Completion of Form 1)
	C
	1. When instructed by the Architect after completion of the “Area Basis” assessment referred to in Clause B of this PS, the Contractor shall carry out Tree Group Inspection of the “Tree Basis” assessment in the Category I tree risk management zone as demarcated in the final “Area Basis” assessment report.

2. The Tree Group Inspection of the “Tree Basis” assessment shall be carried out by an Inspection Officer who shall meet both of the requirements stipulated in sub-clauses 2.1 and 2.2 of this clause below  –   

2.1 one of the training / qualification requirements stipulated in sub-clauses (a), (b), (c), and (d) of this clause below – 

(a) have attended and completed either one of the following training courses organised by the Tree Management Office (TMO) of DEVB – 

(i) the 2-day 2012 Comprehensive Tree Risk Assessment and Management Training Course with assessment organised, or

(ii) the 1.5-day Comprehensive Tree Risk Assessment and Management Training Course (2010 or 2011) and the half-day Refresher Course with assessment; or

(b) have undertaken equivalent departmental training recognised by TMO; or

(c) have successfully undertaken training programmes recognised by TMO, such as Tree Risk Assessment Course and Examination (TRACE) organised by the Pacific Northwest Chapter of the International Society of Arboriculture (ISA) or Professional Tree Inspection by LANTRA Awards; or

(d) have valid qualifications or certifications awarded by recognised institution or industry organisation on arboriculture, such as Certified Arborist of ISA, Technician or Professional Member or Fellow of the Arboricultural Association of the United Kingdom, etc.; and

2.2 Have at least two years of working experience in tree care and be familiar with the tree risk assessment and management arrangement as detailed in Appendix B to this PS.

3. The name, qualifications, working experience and other personal particulars of the Inspection Officer for Tree Group Inspection of the “Tree Basis” assessment shall be submitted to the Architect before commencement of Tree Group Inspection of the “Tree Basis”  assessment.

4. The Inspection Officer for Tree Group Inspection of the “Tree Basis” assessment shall provide all necessary tools, equipment and transportation for carrying out the Tree Group Inspection.

5. The Tree Group Inspection of the “Tree Basis” assessment shall include inspection of the trees in the Category I tree risk management zone as demarcated in the final “Area Basis” assessment report, carrying out of any tests to the trees necessary for identifying trees for remedial action or detailed tree risk assessment, completion of Form(s) 1 (Tree Group Inspection Form) referred to in Clause A3 of this PS, and submission of the Tree Group Inspection report referred to in sub-clause 10 of this clause.

6. Form(s) 1 (Tree Group Inspection Form) shall be completed by the Inspection Officer (for Tree Group Inspection) referred to in sub-clause 2 of this clause and endorsed by the Endorsement Officer referred to in sub-clause 7 of this clause.  To safeguard the quality of the Tree Group Inspection, the Inspection Officer (for Tree Group Inspection) shall duly consider the limitations of visual tree assessment when devising the number of trees in and the areal coverage of the tree group to be covered by each Form 1, to ensure that the tree group to be covered by each Form 1 will not be excessively large.  To suit specific site situation, the trees in the Category I tree risk management zone as demarcated in the final “Area Basis” assessment report could be inspected using more than one Form 1.  

7. The Endorsement Officer for endorsing the completed Form 1 (Tree Group Inspection Form) shall be the managerial staff of the Contractor responsible for monitoring the tree risk assessment arrangement and shall meet one of the training / qualification requirements stipulated in sub-clauses 7.1, 7.2, 7.3 and 7.4 of this clause below –

7.1 have attended and completed either one of the following training courses organised by TMO – 

(a) the 2-day 2012 Comprehensive Tree Risk Assessment and Management Training Course with assessment organised, or

(b) the 1.5-day Comprehensive Tree Risk Assessment and Management Training Course (2010 or 2011) and the half-day Refresher Course with assessment, or

(c) the half-day Tree Risk Management Training Course with assessment; or

7.2 have undertaken equivalent departmental training recognised by TMO; or

7.3 have successfully undertaken training programmes recognised by TMO, such as TRACE organised by the Pacific Northwest Chapter of ISA or Professional Tree Inspection by LANTRA Awards; or

7.4 Have valid qualifications or certifications awarded by recognised institution or industry organisation on arboriculture, such as Certified Arborist of ISA, Technician or Professional Member or Fellow of the Arboricultural Association of the United Kingdom, etc.

8. The name, qualifications, working experience and other personal particulars of the Endorsement Officer for Tree Group Inspection of the “Tree Basis” assessment shall be submitted to the Architect before commencement of Tree Group Inspection of the “Tree Basis”  assessment.

9. Before commencement of the Tree Group Inspection of the “Tree Basis” assessment, the Contractor shall submit a programme showing the phasing of inspection of the trees in the Category I tree risk management zone as demarcated in the final “Area Basis” assessment report, carrying out of any tests to the trees necessary for identifying trees for remedial action or detailed tree risk assessment, completion of Form 1 (Tree Group Inspection Form) referred to in Clause A3 of this PS, and submission of the Tree Group Inspection report referred to in sub-clause 10 of this clause, to the Architect.  The Contractor shall submit the revised programme when instructed by the Architect.

10. The Contractor shall submit the Tree Group Inspection report comprising the following to the Architect –

10.1 the completed and endorsed Form(s) 1 (Tree Group Inspection Form); 

10.2 the associated attachments including the following for each of the completed Form(s) 1 (Tree Group Inspection Form) – 

(a) site plan(s) showing the locations of the trees within Category I tree risk management zone, 

(b) photo record(s) of the trees, and

(c) other documents specified to be attached in the completed Form 1 (Tree Group Inspection Form) such as any updated tree survey record(s) on the preserved trees and updated planting schedule(s) on the newly-planted trees as may be referred to under the “General Tree Information” of Form 1 and any test reports on the trees necessary for identifying trees for remedial action or detailed tree risk assessment; 

10.3 a list of the trees that are recommended with remedial actions for each of the six criteria in Form 1 (Tree Group Inspection Form), with the recommended remedial action(s), and the anticipated date of completion (if not yet completed) or the actual date of completion (if already completed) of each of the remedial action(s) for each of the trees shown ; and

10.4 A list of the trees that are recommended for completion of Form 2 (Detailed Tree Risk Assessment Form) for each of the six criteria in Form 1 (Tree Group Inspection Form).

11. In taking photo records of the trees, the Inspection Officer shall refer to the “Guidelines on Photo-Taking of Tree Conditions in the Process of Tree Risk Assessment” in Annex D to Appendix B of this PS.

12. The Tree Group Inspection report referred to in sub-clause 10 of this clause shall be in the form of an A4-sized, bound report which shall bear a report cover indicating the Contract number, the Contract title, the Works Order number [to be deleted if inappropriate], the date of the report, and that the report is prepared by the Inspector Officer and endorsed by the Endorsement Officer (for Tree Group Inspection).  The format of the report shall be agreed by the Architect prior to submission of the report.

13. The Contractor shall submit two copies of the draft Tree Group Inspection report according to the programme referred to in sub-clause 9 of this clause, to the Architect for comment.   The Architect shall provide comment(s) to the Contractor within 14 days of receipt of the draft Tree Group Inspection report, and the Contractor shall submit the final Tree Group Inspection report with all received comments duly incorporated within seven days of receipt of the Architect’s comments to the Architect.



	Individual Tree Risk Assessment (Completion of Form 2)
	D
	1. When instructed by the Architect after completion of the Tree Group Inspection of the “Tree Basis” assessment referred to in Clause C of this PS, the Contractor shall carry out Individual Tree Risk Assessment of the “Tree Basis” assessment for the trees recommended for such assessment in the final Tree Group Inspection report.  

2. The Individual Tree Risk Assessment of the “Tree Basis” assessment shall be carried out by an Inspection Officer who shall meet all the requirements stipulated in sub-clauses 2.1, 2.2, and 2.3 of this clause below –   

2.1 
One of the training requirements stipulated in sub-clauses (a), (b), and (c) of this clause below –

(a) have attended and completed either one of the following training courses organised by TMO –

(i) the 2-day 2012 Comprehensive Tree Risk Assessment and Management Training Course with assessment organised, or

(ii) the 1.5-day Comprehensive Tree Risk Assessment and Management Training Course (2010 or 2011) and the half-day Refresher Course with assessment; or

(b) have undertaken equivalent departmental training recognised by TMO; or

(c) have successfully undertaken training programmes recognised by TMO, such as TRACE organised by the Pacific Northwest Chapter of ISA or Professional Tree Inspection by LANTRA Awards; and

2.2 
Have valid qualifications or certifications awarded by recognised institution or industry organisation on arboriculture, such as Certified Arborist of ISA, Technician or Professional Member or Fellow of the Arboricultural Association of the United Kingdom, etc.; and

2.3 
Have at least two years of working experience in tree care and be familiar with the tree risk assessment and management arrangement as detailed in Appendix B to this PS.

3. The name, qualifications, working experience and other personal particulars of the Inspection Officer for Individual Tree Risk Assessment of the “Tree Basis” assessment shall be submitted to the Architect before commencement of Individual Tree Risk Assessment of the “Tree Basis” assessment.

4. The Inspection Officer for Individual Tree Risk Assessment of the “Tree Basis” assessment shall provide all necessary tools, equipment and transportation for carrying out the Individual Tree Risk Assessment.

5. The Individual Tree Risk Assessment of the “Tree Basis” assessment shall include inspection of the trees recommended for such assessment in the final Tree Group Inspection report, carrying out of any tests to the trees necessary for further investigating the suspected defects to facilitate assessment of the tree condition and the tree failure potential, completion of Form 2 (Tree Risk Assessment Form) referred to in Clause A3 of this PS, and submission of the Individual Tree Risk Assessment report referred to in sub-clause 9 of this clause.

6. Form 2 (Tree Risk Assessment Form) shall be completed by the Inspection Officer (for Individual Tree Risk Assessment) referred to in sub-clause 2 of this clause and endorsed by the Endorsement Officer referred to in sub-clause 7 of this clause.

7. The Endorsement Officer for endorsing the completed Form 2 (Tree Risk Assessment Form) shall be the managerial staff of the Contractor responsible for monitoring the tree risk assessment arrangement and shall meet the same training / qualification requirements for the Endorsement Officer for Tree Group Inspection of the “Tree Basis” assessment, as specified in Clause C7 of this PS.  

8. The name, qualifications, working experience and other personal particulars of the Endorsement Officer for Individual Tree Risk Assessment of the “Tree Basis” assessment shall be submitted to the Architect before commencement of Individual Tree Risk Assessment of the “Tree Basis”  assessment.

9. Before commencement of the Individual Tree Risk Assessment of the “Tree Basis” assessment, the Contractor shall submit a programme showing the phasing of inspection of the trees recommended for such assessment in the final Tree Group Inspection report, carrying out of any tests to the trees necessary for further investigating the suspected defects to facilitate assessment of the tree condition and the tree failure potential, completion of Form(s) 2 (Tree Risk Assessment Form) referred to in Clause A3 of this PS, and submission of the Individual Tree Risk Assessment report referred to in sub-clause 10 of this clause, to the Architect.  The Contractor shall submit the revised programme when instructed by the Architect.

10. The Contractor shall submit the Individual Tree Risk Assessment report comprising the following to the Architect –

10.1 the completed and endorsed Form(s) 2 (Tree Risk Assessment Form);

10.2 the associated attachments including the following for each of the completed Form(s) 2 (Tree Risk Assessment Form) – 

(a) site plan(s) showing the location of the tree, 

(b) photo record(s) of the tree, and 

(c) other documents specified to be attached in the completed Form 2 (Tree Risk Assessment Form) such as any test reports on the trees necessary for further investigating the suspected defects to facilitate assessment of the tree condition and the tree failure potential;

10.3 a list of trees that are assessed with hazard rating greater than 9 in the completed Form 2 (Tree Risk Assessment Form);

10.4 a list of the trees that are recommended with mitigation measures in Form 2 (Tree Risk Assessment Form), with the recommended mitigation measure(s), and the anticipated date of completion (if not yet completed) or the actual date of completion (if already completed) of each of the recommended mitigation measure(s) for each of the trees shown ; and

10.5 a list of the trees that are recommended for further inspection in Form 2 (Tree Risk Assessment Form), with the time frame within which further inspection should be carried out for each of the trees shown.

11. In taking photo records of the trees, the Inspection Officer shall refer to the “Guidelines on Photo-Taking of Tree Conditions in the Process of Tree Risk Assessment” in Annex D to Appendix B of this PS.

12. The Individual Tree Risk Assessment report referred to in sub-clause 10 of this clause shall be in the form of an A4-sized, bound report which shall bear a report cover indicating the Contract number, the Contract title, the date of the report, and that the report is prepared by the Inspector Officer and endorsed by the Endorsement Officer (for Individual Tree Risk Assessment).  The format of the report shall be agreed by the Architect prior to submission of the report.

13. The Contractor shall submit two copies of the draft Individual Tree Risk Assessment report according to the programme referred to in sub-clause 9 of this clause, to the Architect for comment.   The Architect shall provide comment(s) to the Contractor within 14 days of receipt of the draft Individual Tree Risk Assessment report, and the Contractor shall submit the final Individual Tree Risk Assessment report with all received comments duly incorporated within seven days of receipt of the Architect’s comments to the Architect.




[image: image1.jpg]Appendix A to the Particular Specification

Tree Risk Assessment Arrangement

“Area Basis” assessment

“Area Basis” assessment

“Tree Basis™ assessment

TMO Audit /
Form 1: Departmental Audit
Tree Group Inspection Inspection
Trees growing in | | Trees  with || Mature trees belonging Trees on | | Stomewall Od  and
very stressful site | | major to species with brittle complaint list with | | Tree Valuable
conditions  with defects/health wood  structure  and structural / health Tree (OVT)
failare  potential | | problems having  unsatisfactory problems
fnotential health /  structural
conditions with failure
potential
|
Potential risk
Monitoring mitigated . - -
[¢——— Remedial Action
Risk not
mitigated
Keep Record
v
Form 2: TMO Audit /
Individual Tree Risk N Departmental Audit
Assessment Inspection

v

Corrective measures / risk abatement measures

v

Monitoring

'

Keep Record (Tree Register)





Appendix B to the Particular Specification

Guidelines For Tree Risk Assessment & Management Arrangement On An Area Basis And On A Tree Basis

[image: image2.jpg]FORM 1: TREE GROUP INSPECTION FORM

1:
General Information %7

Department #:

Tnspection officer

EINN

File Ref. f&%4F"

Endorsement Officer

A

Date of Inspection & i _|

Last Inspection Date |7t F#:

Project/Contract No.¢5#5/ 2z ©

Tnspection Frequency i fH:

Location Information i7"

Location iz [

] Nearby Utility Post No.

(multiple answers allowed

ARBF ) [IRemote countyside {4

[JOthers (please specify Hefts (i 14):

RIS PR AR ©
Location Types i ##l: | [JRoadside Landscaped Area P& #{ki%  [] Central divider tf1 5253 fit¥ [] Tree pir 1% [ Village environs §filzl

[JPublc Pavk/Recreation Venve Z:{z/e444554 [] Unallocated Government Land A< HIECFT-L-Hi
[JRecreational site/facilities inside country park %EF 3PS G Aok
[] Vacant Govemment land B2 -4 [|SIMAR slopes Rt Empeiedeimie

General Tree Information {542}

The size of a tree group should be defined by location types, such as public park, SIMAR slopes, tree pits, etc. with due consideration given to the
limitations of visual tree assessment. #EHRIERHHIIA/NRF - BESIHIEDER] > QAR - FRHMERPHESTTARRE - BIRS > W08 H

FER) BRI g
R AR R RN A
300K) it

MR -
Main tee species in the group Approx. Range of tree
(DBHZ 95 mm) and minority tree | number of trees | height (m)
species of significant size (i.e. intherelevant | A%HSHEAY
approx. DBHZ 300 mm) (zee Newe | Species fli]
2 AR
FEREALAI RO IE =95 | PImTAE

Overall health
condition
SERRIGIRIL
(good, fair;
poor

i —fi 0 #)

Overall
structural
condition

E i L EIN
(good, fuir:
poor

0 —H )

Other remarks (Any special tree

condition, e.g. dying/dead,

pest/disease problem and structural

defects; and soil condition

ST

BRI BIAL « VB AT
EE S, IR )

* Delete as appropriate 7| /- i #
Target [{#%)

TARGET (people or property potentially affected by tree/branch failure) [ (FIf 74514508 FBF ST SN 051 5)

Does target exist? (#2742 [] Yes 1t [[No &

Can target be moved? R #2477 [ Yes 1t [[No &

Can the use of site be restricted? i AR ? [ Yes jt [[No &

Frequency of use of location i RSB I2

[] Occasional use (i i [] Intermittent use [1ikfs i [] Frequent use #83 (i [ ] Constant use 115 i

LRSS T E AR A i A TR R R T (et 2)

Identification of Trees for Remedial Action or Detailed Tree Risk Assessment (Form 2)

]

R R PRSI BRI (see Note 1) SfHE

Trees falling under the following criteria Nmtorof | Remedal wton or deled we rik | Amicpaeddue | Dateof
BRI LT AR — R 4 SR ees assessment (Form 2) of completon completion
BABE | AR s ) | Aeterom | sernm

1) Old and Valuable Tree (OVT)

A (use Form 2)( i/ ##% 2)
) Stonewall tree

S (use Form 2) (4% 2)
3) Trees on complaint list with structural or health
problems

(4)  Mature trees belonging to species with brittle wood
structure and having unsatisfactory health or structural
conditions with failure potential

(see Note 1) (JZfifE 1)

A B s 0t AR 0 L AR T 8 RS il AR

5} Tree with major defects or health problems
AR SR R RSB K (see Note 1) (J2fffE 1)

potential(see Note 1)
AR R R A AT A R b o R

MEL)

(6) Trees growing in very stressful site conditions with failure

bgrsd






[image: image3.jpg]Attached Information [f{4¢#:

[t plan S il
[JPhoto record 48}
[ others Hitl (pleuse specify #7657

Note 1: 1t remerial action (such as pruning) unlertaken canno mitigate the potential sk of tree or branch faiture, detaled ree rsk assessent (using Form 2)should be caried aut
FREL T AERRITECIE HR) U RRERE A IR T 00 B « FE SRR (TP AN MR BT (R ) -

Note 2: Please rear in conjunction with TMO's Guidelines on Tree Risk Assessment and Management Amrangement (Para. 43, Refes.)

fiiE2 ¢ i R AT DA SR AR AT (52 R TG 43 D





[image: image4.jpg]General Information 54k

Department #i[5: Inspection officer ;{7 A H: Post i :
File Ref. [§ %45 Endorsement Officer %A\ B Post lfffiz:

Date of Inspection &% 1 |

Last Inspection Date FZC# F 1

Project/Contract No £+ #3/ I 12 4#E:

Tnspection Frequency (530l

Location Information ({:;

Za3

(multiple answers allowed

AER I

[ Remote counmyside {32515
[ Vacant Government land ECfF22 & {-4
[ Others (pleuse specify)sifts (4

Tree ID i AHRHE: Tree Species i irfi:

Location M [ earby Utiiry Post No PRtk |
Location Types []Roadside Landscaped Area P54k (ki [] Cenmal divider tf15253 g [] Tree pi 4175 [] Village environs ik il
Ml [ Public Park/Recreation Venve /#4254 [] Unallocated Government Land A (HIECRT 141

[ Recreational siteffacilries inside counry park 7/ P e FH oGt i

[ISIMAR slopes b sefsstmmae

No(s). of Trunk(s) (#) DBH of tree trunk(s) (mm) #1 | # [ # | #4 | #5 | Aggregated DBH
FRBH#): (L.3m above soll level) (mm)fEFTFE R
B HATE 1.3 KA : (sce note 2 A )

‘Tree Height(m) {1150K) : Tree Spread(m)  RERAECK : |
Age class iEpA . [Jyoung ) []mature 35 []senescent 56

Severity of BRANCH CONDITION Sevesity ot
GF‘NF‘.RAL CONDITION CROV.VN CONDITION Defeﬂsvﬁviil“ ;] B Defects i i
SEARIE TR ol (multiple answers allowed e

(see note 1 SHfE—) EL ) (see note 1 GZHfiE—)

Follage denslty 4/} 4/

Heavy crown load

[] Co-dominant branches %%

(see note 1 SZffit—)

[] Norma E I AT [Jmeluded bark Pyl

[ sparse T [Jves [nvoz [JCavities_f#i

Follage colour /{24 Live crown ratlo jGiEtL: [J Cracks/splits Zdi/2p
Normal ER (foliage canopy / total height of wee) [] Wounds/Mechanical injury
Chlorotic i AT /b BRI IR

[IBrown tsigns of witting) [Jrow 15 <40% [IDead branches/Hangers
1Bt (SRUHERID []ediom th 40-70% IHBEARTTE

Leaf Size £}/ [Jmien 5 >70% [ crooks/abrupt bends

Hmm E# Dieback twigs ff%: i
Abnormal TIEHR D<5% crown il [] Cross branches _#f

Eplcormics /K [ 5-20% crown fi5E [ Heavy lateral limb i

Oveste  [nvowm [ 21 -50% crown HiffE [Lion's tailing ikt

Crown reduced/excessively

[] Bleeding/sap flow i

Natural due to phototropism/
self — corrected
MR A B E
Recently tilted/Unstable root- plate
HOCFRVRE TR

Soll eracks or cracks in
structure(s) behind lean
AR
BRERRHTRH e
Yeskt [|No#

(If yes please specify type
AR )

thinned/ topped/ pollarded: Parasitic/Epiphytic plants
‘Tree vigor [fi{/2/i: IR SAITE SR AN
[ Good #7 Yesit  [|Now [¥esit [Ono

e Asymmetric tree canopy (I yes please specify type
Overage 20 iR - Vi)
[Jpoor 2 [¥esie [INow
Lean {5
De‘:: t” Oros Slgns of pests and disease Sgus of pests and disease
Degree from vertical SRS R S R
MEp e O¥esit [Now Ovesit Owowm

(If yes please specify type
AF R

[Jothers (please specify :
HUtv )

[] others (please specify):
Hept( )





[image: image5.jpg]TRUNK CONDITION Severlty of | [ ROOT CONDITION Severity of | [ SITE CONDITION
LRI Defects IR Defects WAL SERL
R BE R
(multiple answers allowed (seenote 1 (multiple answers allowed (see note 1 (multiple answers allowed
ALE ) St 78 2]} St AE R )
[1#1 Decay/Cavity [TRoot flare/collar not visible Site disturbed by construction
fifiF(open H 5L TR activities
(mm) Root rot HBTEREE TR
(mm) Cracks/splits it s 25 Road widening i
Depth 7 (mm) [ Cut/pruned roots Drain replacement §5 i
IR AR AR Soil grade reduce/ increase
O#2 Decny/Cnvity []Fungal fruiting bodies Mo TR
ST A Site clearing }ig 415
[IDead surface roots Soil heaving f-#iEiL
ictitie Laying of new footpath
Depth #____ (mm) [TExposed root {7 SRATAGE
D Mechanical injury HpRELE L;%:;ig;;&dﬂgm“nd utilities
[T#3 Decay/Cavity [ Termites/borers injury [INew flower beds/ new lawn
I/ (open 5L ET SRR Lo i below tree i T At FE I/
Length % (mm) [TRoot-plate movement [] Others (pease specify)
Width [ (mm) IR et 75E7)
Depth :____ (mm) [T Girdling roots it Soil condition +3#i#t
Rooting area restricted Sandy 8
Poor taper T Atk 5 AR A SR Clay -+
Codominant trunks 5255 (tesit [INo# Water logging fik
Included bark Py (If yes please specify ATETHHRT) Soil compaction {-HsHHEE
Cracks/splits ZUf# o 2431 Drain J5# Restricted root growth area
[] Abnormal bark crack Footpath/pavement {7 At inside dripline A gEGREPA
TR Rt Road curb %5 AR SR
Bulge [filE Retaining structure Yes jit No %
[] Fungal fruiting bodies LK
SR [ Footings or railings o, T
[ Exposed dead wood HSERART 0 51-75% []>75%
fiotEE [ Others (please specify):
[T Wounds/Mechanical St ) Width of Planting area
injury SRS/ T
[] Large wound/ crack/ L< 1261 Ous-
decay on circumference H 2.1-3m []3.1-4m
P g ) > 4m
Bleeding/sap flow i Tree location with exposure to
wind fpAT/ R I
Signs of pests and Signs of pests and Single tree HUfE—{f
disease T3 H Rk disease I RN Tree with emergent canopy
Ovesiz [INoa Ovesit [Nom R L
(If yes, please specify type (Ifyes, please specify type Edge of a group of trees.
T R 17 - TR iR
Recently exposed T4} 75
[TOthers (please specify): [T Others (please specify: [TOthers (plase specify):
et ) At HAtE)

TARGET (people or property potentially affected by tree/branch failure) [1E (FTRHAY FE 7 FiTEl A5E S EAHT A 0BT )

Use under tree /¢4 .2 i (multiple answers allowed 735 % 8—):)

[] Building #:5c) [] Parking fs4fiz [ Traffic #sil [] Recreation i
[] Gathering point ¢#fuitstts [ Pedestrians 17 As# [ Hardscape [ 5 44

[ Others $tih (please specify 727

Can target be moved fi£ &5 [ 1412 [Yes it [JNo#

Can use of site be restricted i 5[l 533 i ? [O¥es it [INoa

TFrequency of use of location {7 1} 2 MM 21 -
[] Occasional use {2 [] Intermittent use [i5tkfs i [] Frequent use #¢3fiiii [ ] Constant use {5





[image: image6.jpg]HAZARD RATING i # T f:
Tree or part likely to fall B Aot FelEATTTAEE T Failure potential | FATAE
[] Trunk i [IBranchvlimb £z8¢ [ Whole #f# Jizlowis  [J2=mediomep  []3=high 7  []4=severe fiifs
Failure Potential + Size of Part + Target Raring = Hazard Rating Size of part [] 1=< 150mm
BUAITRE  + WA + ERRREE = fuiami RN 150 - 450mm
L 451 - 750mm
[ SRR th o= 4= > 750mm
Target rating [1##Fff: [ 1 - occasional use L
2 — intermittent use [
— frequent use bieatrdii]
4 — constant use A
REMEDIAL/RISK MITIGATION MEASURES
R ER i (can tick more than one AEX A —IH)*:
[ Remedial/Risk Mitigation measures taken.
T THIRURAR NG (please specify 7H705)
[] Remedial/Risk Mitigation measures proposed to be taken as specified below: é"““lpmed Datecaf ]g“‘e ﬁf
S p——— ompletion ompletion
T LT AN RS Feta kA Se FI
[] Pruning 54: [IRemove defective parts [] Crown cleaning 1 ¥ i
BIAEE
[] Crown thinning Bkl []Remove stub £ 2:7iii(5
[ Crown raising #7857 [ Crown reduction kit Date:
[] Tree Removal & Date:
[] Cabling/Bracing/Propping %44 45t 454/ Date:
[IMove Target 5 £ Date:
[] Restrict use within tree fall zone Date:
PR T BERE 4= AR T S Feffelei U RE 5
[] Pest/ discase control {2t : Date:
[ Needs further inspection within___months 5 {6 A AR AR A
(please specify 7 :
Comments 7F7E:
ATTACHED INFORMATION fffJck}:
Site plans A HTHIE HTlee photos AR
Resistograph TSR B0 Tomography  EFfl{4
Others i (please specify T767%)
Attention Please FER:
1 Please submit information on the condition of the tree under assessment and the mitigation measures undertaken/proposed to

be undertaken to the Tree Management Office in a timely manner for uploading onto the Tree Register at www.trees.gov.hk.
Eﬂiﬁ%’rﬁw&'ﬂK}fﬁi%ﬁ?RﬂIﬁﬁiﬁ}w"vﬁ@é"ﬂi@ﬂ%lﬁﬁﬁi*%ﬁﬁﬂ%lﬁu@ R R AR E S I R R
www.trees.gov.hk ©

2 Please read in conjunction with TMO's Guidelines on Tree Risk Assessment and Management Arrangement (Para. 4.4
refers.)

2 BRI AR R SRR ORI R PR (G R PR R B S  (BF 4.4 )

(Form 2 12/2011)





Guidelines on photo-taking of tree conditions

in the process of Tree Risk Assessment

	Item*

(Please see the notes)
	Photo records should cover the following:-

	(1) Overall tree profile and site condition
	· Overview of the tree inspection site and the tree

group inspected;

· Overall tree form and canopy;

· Leave pattern/size with reference scale;

· Foliage color;

· Sign of leaning;

· If the tree species cannot be identified on site,

the inspection officer should take photos of the

overall tree form, tree trunk, foliage, fruits and

flower for seeking professional assistance after

the site inspection. If possible, plant specimens

should be collected for verification.

	(2) Conditions of tree trunk and branches
	· Any trunk or limb defects, such as large external cavities, extensive external sap flow,

co-dominant stems, included bark or other weak attachments in the main trunk or branch(es),large cracks or splits;

· Close-up photos of possible failure point(s), woundwood formation, any pruning cuts/wound, and sign/presence of pest or disease.

	(3) Conditions of lower trunk and root
	· Stressful site conditions, including construction activities within the critical root zone and any other activities or restrictions that may damage the roots system and the overall structural stability of the tree;

· Physical/human damage/disturbance to the root zone, root collar and root crown;

· Close-up photos of exposed roots, root zone and the root collar.


*Notes: Tree Group Assessment (Form 1), photos shall cover details in item (1) Tree Risk Assessment (Form 2), photos shall cover details in items (1), (2) and (3)

[image: image7.jpg]8.0

Maintenance Schedule for Soft Landscape Works

Maintenance Schedule during Maintenance Period

Operations Rainy Season Remarks
Growing Season
Month 4 5|6 |7 |8 |ofw0|u|12|1]2
1. Irrigation D|D|D|(D|D|D|D|D|D|D|D |Earlymorning/late
afternoon.
2. Weeding MIM|M|{M|M|[M|M|[R|R| R | R | Onceevery month during
growing season.
Once every 3 months
during non-growing
scason.
3. Fertilizing o Two applications.
4. Mulching o o Two applications.
5. Grass Cutting Early morning/ late
e — bW | bW bW bW M M afteinoni.
Ry ——— . - - . - . :us; Cgmss sward length as a
6. Pruning bM bM bM bM R R (see Item 7.0)
7. Thinning o o (see Item 8.0)

8. Firming-up Support

Extra inspection after
storms.

9. Disease  Control MIM|M|{M|M|[M|[R|R|R| R | R | Immediate treatment after
detection; weekly
inspection thereafter.

10. Replacement ¢} ¢} o o

11. Protection

Legend:

D = daily bW = bi-weekly R =regular intervals

W = weekly bM = bi-monthly O = once

M = monthly





	8.1
	General Scope

	 8.1.1
	Planting maintenance shall include all necessary tasks as:

	
	a. Watering.

b. Leaf cleaning.

c. Cultivation.

d. Weeding.

e. Pruning.

f. Wound dressing.

g. Disease and insect control.

h. Protective spraying.

i. Replacement of unacceptable material.

j. Straightening plants which lean or sag.

k. Adjustment of plants which settle or are planted too low.

	 8.1.2
	Any other procedure consistent with good horticultural practice necessary to ensure normal, vigorous and healthy growth of all plants under this contract shall be applied.

	 8.1.3
	Landscape Maintenance Personnel shall rotate and replace plants as necessary to ensure normal, vigorous and healthy growth of all plants.

	
	

	8.2
	Irrigation

	 8.2.1
	Water all planting areas as often as is required to keep the soil moist up to a minimum of 200mm deep from surface.

	 8.2.2
	In general, watering to all planting areas shall be carried out every day, except for occasions when rainfall in the previous day exceeded 20mm, or rainfall during the day exceeds 5mm.

	 8.2.3
	Watering shall be more frequent for planting areas exposed to wind and sun.

	 8.2.4
	Watering shall be done in the early morning or evening.

	 8.2.5
	In dry weather and in the dry season (November to February), watering frequency shall be adjusted to ensure the above condition is achieved.

	
	

	8.3
	Weeding

	 8.3.1
	Hoe and weed all planting areas at least once every month during the growing season and every 3 months otherwise, to maintain them in a weed-free condition.

	 8.3.2
	Weeding must also be carried out prior to fertilization.

	 8.3.3
	Remove weeds and litter from site.

	 8.3.4
	Any mulch or soil disturbed or removed during weeding operation shall be replaced.

	
	

	8.4
	Fertilization

	 8.4.1
	Fertilize all plants once every six to eight months.

	 8.4.2
	Use a slow release fertilizer with a minimum of four month release period at 32 degrees Celsius.

	 8.4.3
	A granular compound in the ratio 16:10:14:2 for N:P:K:MgO plus trace elements shall be applied at the following rates per plant:-

	 
	

	
	- Trees
	500g (Semi Mature Standard)

	
	
	250g (Heavy Standard)

	
	
	200g (Standard)

	
	
	

	
	- Palms
	100g (3m height from soil level to 1st frond at time of planting)

	
	
	2000g (over 3m height from soil level to 1st frond at time of planting)

	
	
	

	
	- Shrubs
	75g 

	
	
	

	
	- Climbers
	50g

	
	
	

	
	- Ground covers
	25g  per sq m

	
	
	

	 8.4.4
	Fertilizer shall be applied to all planting areas once annually, preferably in March.

	 8.4.5
	Repeat application in autumn if plants show signs of poor health due to lack of nutrition after the summer days.

	
	

	8.5
	Mulching

	 8.5.1
	Planting areas showing exposed soil shall be topped up with a 30mm thick layer of mulch to suppress weeds and condition the soil.

	 8.5.2
	Organic materials such as decomposed leaf litter, tree bark, small wood-shavings, wood chips, chopped tree fern, may be used.

	 8.5.3
	Where it is used to supplement an existing area of mulch, similar type shall be used.

	 8.5.4
	Topping up shall occur at yearly intervals or following run off caused by heavy rainstorm.

	 8.5.5
	Any retrievable mulch displaced by runoff shall be collected and placed in its original position.

	
	

	8.6
	Pruning

	 8.6.1
	Pruning shall be carried out after the flowering period for flowering trees and shrubs and in late autumn or early spring for non-flowering species.

	 8.6.2
	Pruning of trees shall also aim to encourage a straight and upward trunk growth, while maintaining a symmetrical crown that is not less than one third of the overall height.

	 8.6.3
	Pruning of ground covers or low shrubs shall be implemented as necessary when they begin to extend over seat walls or adjacent benches.

	 8.6.4
	Pruning shall include the removal of wilted flower heads and dead, damaged or crossing branches.

	 8.6.5
	They shall be pruned back to the main stem with the cut flushed with the stem, sloping away from ragged edges.

	 8.6.6
	A manual or chain saw shall be used on branches larger than 30mm diameter.

	
	

	8.7
	Thinning

	 8.7.1
	All planting should be checked at the end of the first year for overcrowding conditions leading to unhealthy growth.  Inspection should be carried out bi-annually thereafter.

	 8.7.2
	The purpose of thinning is to encourage bushy growth in shrubs.

	 8.7.3
	If groups of shrub or groundcovers are becoming “leggy” with a predominance of woody stems and a relatively thin crown, plants shall be removed evenly throughout.

	 8.7.4
	The number of plants to be removed will depend on species and planting density.

	 8.7.5
	If trees were planted too close resulting in distorted forms, individual trees shall be selectively removed and transplanted elsewhere within site.

	 8.7.6
	In the event of poor performance of under storied planting beneath a shade tree, the plant material shall be replaced with a more shade - tolerant species, or top-soil and mulch shall be applied after removal of the under storied planting.

	
	

	8.8
	Firming Up Supports

	 8.8.1
	Tree ties shall be checked regularly.  

	 8.8.2
	The ties shall be loosened to avoid bark chafing.

	 8.8.3
	The tree trunk shall be allowed growing space within its ties.

	 8.8.4
	All tree stakes and ties shall be inspected at least every six months and particularly after a typhoon.

	 8.8.5
	Wobbling tree stakes shall be firmed up by tamping down loose soil around the stake or diving the stake in deeper if necessary, taking care not to damage tree roots.

	 8.8.6
	Firming up of plants shall be undertaken from time to time, particularly after a heavy rainstorm or typhoon, by tamping down or compacting loose soil around the root ball. 

	 8.8.7
	Tree stakes and lies shall be removed once the tree is established.  This means the tree has reached a caliper of not less than 80mm, measured 1200mm above finished ground level, if the tree was planted either as light standard or standard size.  

	 8.8.8
	Tree stakes supporting a heavy standard tree shall be removed 8-18 months from planting.

	
	

	8.9
	Disease Control

	 8.9.1
	Plants shall be checked monthly or bi-monthly for fungus infestation or insect attack during known periods of activity, particularly during the rainy season.

	 8.9.2
	If insects or fungus are detected, remedial measures shall be performed by spraying of an approved insecticide or fungicide in strict accordance with the manufacturer’s instructions.

	 8.9.3
	Spraying operation shall be carried out with due regard for safety and convenience of the general public.

	 8.9.4
	Spraying shall be carefully controlled to avoid unnecessary dispersion.

	 8.9.5
	Spraying operation shall be carried out by a qualified horticulturist or personnel upon approval of the Landscape Architect.

	 8.9.6
	After the first treatment, weekly inspections shall be carried out and spraying repeated it necessary.

	 8.9.7
	If eradication of fungus and insect infestations proves unsuccessful after six weekly treatments, the infected plants shall be removed and burnt off site.

	 8.9.8
	When dead or nearly dead plants are discovered at first inspection, they shall be removed in the same manner and replaced.

	 8.9.9
	The cause of death shall be determined and appropriate preventive measures shall be taken for adjacent vegetation.

	
	

	8.10
	Replacement

	 8.10.1
	Dead and dying plants shall be replaced as often as required (not to exceed a period of one month from date of diagnosis), to ensure that the planting scheme remains substantially the same as shown on the original drawings.

	 8.10.2
	If the same species cannot be found, a substitute with equivalent form, colour, size and texture may be used upon Landscape Architect’s approval.

	 8.10.3
	The original design intent should be maintained as far as possible.

	
	

	8.11
	Protection

	 8.11.1
	Protective fencing, tree grates and guards shall be checked monthly.

	 8.11.2
	All necessary repairs or adjustments shall be carried-out immediately to ensure that they are maintained in good conditions at all times.

	 8.11.3
	Any temporary protective fencing that remains on site after planting is established may be removed one month later, if no evidence of vandalism is found.

	 8.11.4
	Post holes shall be filled in and appropriately compacted.

	 8.11.5
	Where plants have been vandalized, replacement shall be carried out and a protective fence shall be erected until plants are established.

	 8.11.6
	Tree guards used for decorative purposes shall be maintained until the trunk is a minimum of 100mm from the guard, after which the guard shall be removed.

	 8.11.7
	A more substantial guard may be erected if vandalism is found to be a significant problem.

	 8.11.8
	Where trees without guards have been vandalized repeatedly, a heavy gauge mesh guard shall be installed.

	
	

	8.12
	Protection and Damage

	 8.12.1
	Planting area and plants shall be protected at all times against trespassing and damage of any kind.

	 8.12.2
	Harmful or objectionable branches or twigs shall be pruned to prevent potential hazard while the natural character of the plant shall be pruned to maintain or improve its appearance.

	 8.12.3
	Damages to plants resulting from settling or other causes shall be rectified by improving the planting condition by adding topsoil and replanted.

	 8.12.4
	All plant material found to be dead or unhealthy shall be replaced with the same species and, if possible, of similar size as originally planted at a time conducive to good horticultural practices.

	
	

	8.13
	Clean Up

	 8.13.1
	A final cleaning shall be undertaken at completion of the planting works.


9.0.
Signage

9.1 Description

9.1.1 Design, supply, fabricate, assemble and install non-illuminated and illuminated signage in accordance with the design intent shown in the Drawings and/or as instructed by the Architect, and in accordance with the requirements of this Particular Specification. The works shall include signage base, supports and sub-frames, footing, casing, fixings and anchors, graphics and messages, and all necessary components and accessories.

9.1.2 The types of non-illuminated signage include the following:

(a) Directional, advice and warning signs;

(b) Statutory signs ( including Braille and tactile signs );

(c) Name signs; and

(d) Room signs.

9.1.3 The types of illuminated signage include the following:

(a) Stainless steel name signs with LED found at main and lift entrance of park.

9.1.4 The signage shall be designed, supplied, fabricated, assembled and installed by a specialist sub-contractor with proven experience in the past 5 years and capacity to conduct, manage and carry out works of similar size, nature and complexity. Submit the company profile, job reference in Hong Kong in the past 5 years for the Architect’s approval prior to commencement of the works.

9.2 Design and Performance Criteria
9.2.1 General

(a) The contractor shall be responsible for final selection of materials, sizes, thickness, types and locations of fixings, all in accordance with the requirements in this Particular Specification.

(b) The signage shall be designed to accommodate all performance requirements in conjunction with movements and tolerances and to be compatible with the primary structure.

(c) The contractor shall not use any material, equipment or practice that may adversely affect the function, appearance and durability of the completed signage and related construction. All works shall be executed in strict compliance with the specified criteria without undulating of surfaces or other harmful effects.

(d) All materials shall match each other to provide continuity of line, texture and colour. 

All materials and components incorporated in the works shall be delivered, stored, handled and installed in strict compliance with the manufacturer’s standards and procedure.

(e) Signs located in uncontrolled environmental conditions shall be capable of withstanding wind loading, ultraviolet and ozone exposure, high humidity and temperature, vandalism, and pest infestation without deleterious effects. Condensation shall not take place either on the internal surfaces or within the material skin.

         (f)  The signage design shall be based on extensive use of standardized 

             Components and ensure that the signs can be installed using the simplest

             Possible 

9.2.2 Codes and standards

Comply with the following standards and codes of practice, all latest editions:

     BS 476: Part 7  Fire tests on building materials and structures. Method

                    
of test to determine the classification of the surface 

                    
of flame of products

     BS 8442        
Miscellaneous road traffic signs and devices. 

                    
Requirements and test method

     BS EN 12899-1 Fixed, vertical road traffic signs. Fixed signs.

     BS 5499-1      
Graphical symbols and signs. Safety signs, including 

                    
fire safety signs

     BS 5499-2      
Fire safety signs, notices and graphic symbols. 

                    
Specification for self-luminous fire safety signs

     BS EN 60529    Specification for degrees of protection provided by 

                    
enclosures (IP code) 

     DIN 5036       
Standard measurements of reflectance

     DIN 53436      
Toxic smoke release due to fire

     ASTM D638M  Standard test method for tensile properties of plastics

     ASTM D671     Standard test method for flexural fatigue of plastics 

                    
by constant-amplitude-of-force

     ASTM D695     Standard test method for compressive properties of 

                   
rigid plastics 

     ASTM D696     Standard test method for coefficient of linear thermal

                   
expansion of plastics between -30°C and 30°C with a 



vitreous silica dilatometer

     ASTM D785     Standard test method for Rockwell hardness of plastics

                    
and electrical insulating mater

     ASTM D790     Standard test methods for flexural properties of

unreinforced and reinforced plastics and electrical 

insulating materials

              Code of Practice for the Provision of Means of Escape in Case of Fire

              Code of Practice for Means of Access for Firefighting and Rescue

              Code of Practice on Wind Effects Hong Kong

              Design Manual: Barrier Free Access 2008

              Highways Department Standard Drawings

              Road Traffic (Traffic Control) Regulations

              Code of Practice for Private Road, Transport Department

              IEE Regulations

              Hong Kong Blind Union

9.2.3 Movements

(a)  The Contractor shall design and construct the signage to withstand movements of the primary structure and/or substrate under all design loads or combination of loads, without damage or any reduction in the performance of the signage.

(b) All fixings shall be capable of providing adequate adjustment with the minimal use of packing shims.

(c) The signage shall not deflect under loading in any way that has a detrimental effect on any element of the Works, adjacent structural or building elements.

(d) The Contractor shall design and install all components and fixings such that they are capable of accommodating all of the above deflection without distortion, deformation or failure.

9.2. 4 Loading Criteria

The complete signage with structural supports and/or sub-frames shall accommodate the following loading criteria without loss of structural integrity, permanent deformation, or reduction in its performance:

	Load type

	
	Dead load

	Self-weight.


	Live load from maintenance

	The most stringent of 

1.0kN/m² uniformly distributed; or

0.5KN normal onto an area of 300x300mm anywhere on the sign.


	Live load from crowd where signs within 1.5m of finished floor level

	0.75kN/m uniformly distributed load applied at a height of 1100mm above finished floor level; 0.5kN concentrated load applied on any part of the sign between floor and 1100mm above finished floor level.


	Impact load-where signs are within 0.7m of finished floor level

	100kg applied at a height 0.7m above finished floor level at a speed of 1 m/s


	Thermal load

	Load resulting from temperature difference of  32°C


	Wind load

	In accordance with the Code of Practice on the Wind Effects Hong Kong


	Safety factor

	As applied for load combinations in accordance with the relevant code of practice and referenced standards.



	


    9.2.5 Lighting and Electrical Components

(a) The Contractor shall design, select, supply and install light fittings, control gear and associated electrical components and wiring for illuminated signs to suit the signage design.

(b) Comply with the General Specification and Particular Specification for Electrical Installation.

9.2.6 Other Performance Requirements

The signage shall satisfy the following performance requirements to the referenced standards:

	Performance
	Description
	Requirement

	Flame spread
	Ability to limit spread of fire
	Min. Class 1

	Deflection
	Deflection under design loads
	No visible deflection, warpage, sag or oil-canning

	Robustness
	Rattling under load
	No rattling or dislodgement.

	Electromagnetic compatibility
	Acceptance level of emission
	Shall demonstrably not affect other installations

	Moveable parts
	Mechanisms and moveable assemblies
	To be fail-safe to prevent accidental dislodgement during maintenance and to remain secure during operations.

	Equipotential bonding
	Electrical safety
	In accordance with IEE Regualtions.


9.2.7 Performance Requirements of Illuminated Signs

In addition to clause 2.6 above, the illuminated signage shall also satisfy the following performance requirements to the referenced standards:

Illumination requirements:

	Performance
	Description
	Requirement

	Uniformity
	Ratio of min to max. illumination
	Max. 1 to 3

	Brightness
	Average brightness of display medium 
	Min. 1000 candela/m²


  Performance requirements of sign casing:

	Performance
	Description
	Requirement

	Total reflectance
	Surface ability to reflect light
	Min. 85%

	Smoke release
	Resistance to smoke generation in fire
	Max. LC50

	Operating temperature
	Operating temperature inside casing
	Less than 80°C

	Protection by enclosure
	Protection from water and dust ingress
	Min. IP65




9.2.8 Performance Requirements of Polycarbonate

         The completed polycarbonate display medium shall satisfy the following performance requirements to the referenced standards:

	Performance
	Description
	Requirement

	Flame spread
	Ability to limit spread of fire
	Min. Class 1

	Smoke released
	Resistance to smoke generation in fire
	Max. LC50

	Deflection
	Deflection under design loads
	No visible deflection, warpage, sag or oil-canning

	Tensile strength
	Strength in tension
	Ultimate failure at 9500Psi

	Flexural endurance
	Resistance to breakage after continuous flexing of 1800 cycles/min.
	Ultimate failure at 1000Psi

	Compressive strength
	Strength in compression
	12500Psi

	Coefficient of thermal expansion
	Expansion when subjected to heat
	3.75 x 10-5 in/in/°F



	Hardness
	 Resistance to impact
	Min. 1.20

	Flexural strength
	Resistance to breakage under bending
	Ultimate failure at 10500Psi

	Deflection
	Allow deflection under load
	Max. 2mm


9.2.9 Demountability

(a) Elements of the signage shall be removable and re-mountable ensuring access for maintenance and/or replacement in the event of breakage.

(b) All demountable components and accessories shall be capable of being re-erected in accordance with the original setting-out alignment.

(c)  Such removal shall not affect the performance of adjacent or any other part of                       the signage or any adjoining works.

9.3 Materials and Products
9.3.1 Generally

(a)  All materials and components shall be durable, and to the minimum standards set out in the Specification and the relevant standards.

(b) For each materials or component, the Contractor shall obtain the total quantity from the same supplier unless otherwise agreed with the Architect.

(c)  All fixing brackets and cleats shall be manufactures\d from an appropriate grade of steel/ aluminium to the requirements of relevant standards.

(d) All materials and components, shall not be liable to infestation attack by micro-organisms, fungi, insects or other vermin, nor provide harbourage for same.

(e)  Materials shall be compatible with each other in the proposed applications to avoid degradation and meet the current requirements of the Specification, relevant standards, codes of practice and the Building (Construction) Regulations.

9.3.2 Sign Plate

Sign plate shall be custom fabricated plate to the specified size and complying with the following:

   
(a)  Material: Grade 316 stainless, stain finish.

(c) Thickness: Minimum 2mm

(d) Fixing method: Mechanical fastened to wall or sign support

(e) Graphics: Silk-screening acid-etched graphics printed onto plate surface in the specified colours.

9.3.3 Braille Signs

(a)  Braille sign shall be custom fabricated stainless steel sheet with embossed    tactile symbols and Braille information as specified or required under the Design Manual: Barrier Free Access 2008.

(b)  The Braille sign on handrails shall be pressed to a curved profile for close    contact with tubular handrails, without sharp edges or deformations after installation.

(c) The tactile symbols and Braille information embossed on the Braille sign shall be verified by the Hong Kong Society for the Blind or equivalent.

9.3.4 Proprietary Room Signs

Room signs shall be proprietary-made extruded profile with interlocking dovetails and in a modular system capable of interchanging and complying with the following:

(a)  Materials: Aluminium, polyester powder coated.

(b)  Thickness: Maximum 10mm total

(c) Base plate: Capable of being mechanically fastened to wall, partition or door. 

Edges shall be flush with the face plate with the outward edges chamfered.

(d)  Graphics: Silk-screening acid-etched graphics printed onto face plate surface 

in the specified colours.

(e)  All edges shall be chamfered.

(f)  All fixings shall be concealed.

9.3.5  LED Name Signs

LED name signs shall be custom fabricated signs complying with the following requirements:

(a)  Casing material: Aluminium of minimum 3mm thick or more as required to fulfill the performance requirements.

(b)  Casing finish: PVF2, external surfaces in colour as specified in the Drawings, 

Internal surfaces in matt white to achieve the specified reflectance.

(c)  Display medium Polycarbonate, semi-transparent in opal colour, matt finish.

(d)  Shape: Fabricated to form character as shown on the Drawings.

(e)  All fixings shall be corrosion resistant and shall be concealed,

(f)  Adequate ventilation or heat-dissipating elements shall be incorporated to maintain the temperature of the sign surface below 65°C at ambient temperature of 40°C, and such that the function and durability of the sign elements is not affected.

9.3.6
Polycarbonate

Polycarbonate shall be proprietary-made, high performance modified acrylic sheets designed for the purpose of backlit displays complying with the following requirements:

(a)  Sheets shall be non-yellowing throughout the services life.

(b)  Sheets shall be free from bubbles. smoke waves, air holes, scratches and other defects. In cutting sheet, proper allowance shall be made for expansion. Edges shall be polished.

(c)  Sheet sizes and types shall be as shown in the Drawings. Thickness shall be minimum 3mm or more as required to fulfill the performance requirements.

9.3.7 Sign Support 

(a)  Sign support shall be custom fabricated, grade 316 stainless steel, satin finish support frame. Members shall be hollow sections to the specified profile and size. Thickness of metal shall be as required for structural integrity. Include base plates and fasteners for anchorage into substrate.

(b)  Pole for mounting traffic sign/EVA sign shall be hot dip galvanized circular steel section finished with polyurethane paint.

(c)  Comply with section 17 of the General Specification.

9.3.8 Fixings

(a) All fixings shall comply with the performance requirements stated in this Particular Specification, and shall conform to the statutory requirements in respect of strength and type.

(b) All bolts, screws, nuts and anchors shall be of strength adequate for their designed purpose and be manufactured from stainless steel of no inferior to grade 316.

(c)  All visible fixings shall be grade 316 stainless steel countersunk allen key type. Where countersunk fixings cannot be used grade 316 stainless steel flat headed “pig nose” fixings shall be used, subject to the Architect’s approval

(d) Adequate measures shall be taken to prevent bi-metallic corrosion between   dissimilar metals, and to this end attention is drawn to BSI publication PD 6484 ‘Commentary on Corrosion at Bi-Metallic Contacts and its Alleviation’.

(e) Aluminium components shall be isolated from cementitious surfaces.

9.4 Submissions

9.4.1 Submit the following to the Architect for approval:

(a) Technical Information

(i) Manufacturer’s product data, and installation instructions;

(ii) Job reference in Hong Kong in the past 5 years;

(iii) Calculations, certified by a registered structural engineer, demonstrating that the signage with sign support is designed to satisfy the specified design and performance criteria;

(iv) Certificates and test reports prepared by a HOKLAS accredited or internationally recognized laboratory substantiating that the offered materials and products comply with the specified design and performance criteria as well as relevant standards and codes of practice; and

(v) Method statement of assembly and installation;

(b) Shop Drawings

(i) Shop drawings showing the fabrication, construction, assembly and 

Fixing details of all elements and components of the signage system and associated sign support and footing, light fittings, control gears and electrical components and wiring, provisions of tolerances, and interfacing details with the adjacent works; and

             (ii)   Signage schedule showing the locations, setting-out, dimensions, graphics and messages, materials, finishes and colour, type of fixings and supports, type of light fittings and control, and accessories of all signs.

(c)  Samples

(i) Sign plate : 1 piece of for each type, size, finish and colour;

(ii) Sign support : 1 piece of minimum 300mm long for each type, finish and thickness;

(iii) Polycarbonate : 1 piece of 300 x 300mm for each type, finish and colour;

(iv) Fixings : 1 piece for each type;

(v) Light fittings : 1 no. for each type;

(vi) Fabricated sample assembly : 1 piece for each type of sign; and 

(vii) True size coloured paper mock-up signs: 1 no. for each type of sign as selected by the Architect.

9.5 Workmanship

9.5.1 Generally

(a)  The signage shall have continuous profiles, which shall be free form arks, defects, flaws, step, waves, or damage of any nature.

(b) Where elements and components are stored on Site, the Contractor shall protect them from damage, distortion or uneven weathering.

(c) Install all fixings in accordance with the manufacturer’s recommended procedures.

(d) The Contractor shall obtain consent form the Architect before drilling or cutting parts of the substrate.

(e) Use isolating tape, plastic washers, or other suitable means to prevent bi-metallic corrosion between dissimilar metals.

(f) The completed signage shall be square, regular, true to line, level, and plane.

9.5.2 Coordination

The Contractor shall coordinate with all works trades interfacing and nearby the signage.  In particular, he shall ensure that the installed sign shall not be obstructed or prone to be damaged by other works/ installations.

9.5.3   Storage

(a) Protect all materials and products during storage and handling in compliance with the manufacturer’s directors and prevent damages to the materials form effects of moisture, condensation, temperature changes, direct exposure to sun, exposure to subsequent construction activities and from any other causes.

(b) Ensure that all finished components are packed in stillages or crates such that they are suitably separated and protected to prevent scratching, scuffing, or other surface damage.

9.5.4 Preparation

(a) Mount paper mock-up signs and adjust the locations on Site as directed by the Architect. Seek the Architect’s approval of the location and height of the paper mock-up signs prior to installation of the permanent signs.

(b) Verify the site conditions, locations and dimensions prior to installation.

9.5.5
Examination

Measure and inspect the substrates for the areas to receive the signage.  Inform the Architect of deficiencies that will interfere with proper installation of the signage.  Do not proceed with the installation until all deficiencies have been satisfactorily corrected.

9.5.6  Installation

(a) Install signs in accordance with the approved installation instructions at the locations of paper mock-up signs approved by the Architect.

(b) Snap engaged trims and components shall not disengage when subjected to direct force, and shall be mechanically secured against vertical and horizontal movement without exposed fixings.  Joints in continuous snap-on trims and components shall have splice sleeves in matching materials and finish.

(c) Make exposed joints flush and aligned.  Install items and components plumb and level, accurately fitted, free from distortion and defects.

(d) Holes, cut-out openings, etc. required for surface-mounted items and services passing through signs shall be completed prior to applying finish coating to the signs. Drilling or cutting of signs after finish coating is not permitted.

9.5.7 Tolerances Generally

(a) Maintain a very high degree of accuracy in the fabrication and installation of the signage to ensure that the specified tolerances are achieved.

(b) Ensure that the Contractor’s design of the signage allows for sufficient design, manufacture and installation tolerances of all interfacing conditions, to include allowances for any movement arising from differential superimposed loads, dead loads, self weight, the presence or absence of water, variations in moisture conditions, thermal expansion and contraction, deflection form external forces and torsional load, traffic vibration settlement, deflection, deflection form excessive temporary loads during construction and stacking of materials, positive and negative wind loads and all other relevant forces.

(c) Submit for the Architect’s review a method statement detailing proposals to achieve the specified tolerances.  This method statement shall demonstrate that the Contractor has a clear understanding of the construction programme, the effects of adjoining works, and the fabrication method of the signage components.

(d) Submit for the Architect’s review a detailed list of tolerances to which the signage shall be fabricated within the requirements of this Particular Specification for the overall geometric requirements.  As a minimum the Contractor’s statement of tolerances shall include the following:

(i) Position on plan;

(ii) Levels;

(iii) Alignment;

(iv) Joints between panel;

(v) Diagonal;

(vi) Eccentricity; and 

(vii) Inclination.

(e) Carry out an analysis of the erection sequence in order to satisfy himself and the Architect that the installation tolerances stated in this Particular Specification are met.

(f) The Contractor’s shop drawings shall show the dimensional and detailed provisions intended to accommodate the construction tolerances of surrounding elements in order to ensure that all aspects of the signage relate satisfactorily to the Works as a whole.

9.5.8 Manufacture/ Fabrication Tolerances

(a) Non-proprietary items shall be fabricated to meet the following tolerances:

	Tolerance
	Description
	Requirement

	Length
	Acceptable deviation of average size from work size length for length < 600mm
	Max. +0mm, -0.3mm

	
	Acceptable deviation of average size form works size length for length >600mm
	Max. +0mm,-0.5mm

	Width
	Acceptable deviation of average size from work size width
	Max. +0mm, -0.3mm

	Flatness
	Acceptable face deflection for panel with length < 600mm
	Max. 0mm concave;

Max. 3mm convex

	Thickness 
	Acceptable deviation of average thickness form work size 
	Max. + 0.1mm

	Rectangularity
	Acceptable deviation from 90° for corner and edge
	Max. 0.15mm per 600mm length

	Radius 
	Acceptable deviation form intended radius
	Max. + 0.2 mm


(b) Sign casing shall be fabricated to meet the following tolerances:

	Tolerance
	Description
	Requirement

	Metal thickness
	Acceptable difference in thickness within single piece
	Max. + 0.5mm

	Dimension
	Acceptable deviation form stated dimension
	Max. + 1mm

	Bow
	Acceptable allowance in bow, measured as % of diagonal 
	Max. 0.2%

	Squareness
	Acceptable deviation form a straight edge across longest dimension
	Max. + 1mm

	Surface flatness
	Acceptable deviation form a straight edge across longest dimension
	Max. + 1 mm

	Joint width
	Acceptable deviation form specified joint width
	Max. + 0.5mm


(c)  Polycarbonate sheets shall be manufactured to meet the following tolerances:

	Tolerance
	Description
	Requirement

	Thickness
	Acceptable difference in thickness within one sheet
	Max. + 0.5mm

	Dimension 
	Acceptable deviation form nominal
	Max. + 1mm

	Bow
	Acceptable allowance in bow, measured as % of diagonal
	Max. 0.1 %

	Squareness
	Acceptable difference in measurement of diagonals
	Max. + 3mm


9.5.9 Installation Tolerances

   Signage shall be installed to meet the following tolerances:

	Tolerance
	Description
	Requirement

	Datum
	Acceptable deviation form true level or slope
	Max. + 1.5mm

	Lipping
	Acceptable deviation in plane between adjacent surfaces
	Max. 1mm

	Plumb
	Acceptable deviation from true vertical
	Max. + 1.5mm

	Alignment 
	Acceptable deviation in alignment between adjacent and adjoining elements
	Max. + 1.5mm

	Linear building line
	Acceptable deviation from theoretical position shown in Drawings
	Max. + 1.5mm

	Joint width consistency
	Acceptable variation in widths along length of joint
	Max ¼ of the specified joint width, for joint width < 4mm;

Max. + 1mm of the specified joint width, for joint width > 4mm


9.5.10 Remedial

(a) No form of making good or restoration shall be permitted, unless the damage is considered by the Architect to be minor and repairs can be carried out by an approved method with no evidence remains of the correction work.

(b) If the method of repairs is not acceptable as judged by the Architect, the Contractor shall remove the damaged units. The new units shall be identical to the other components to eliminate evidence of replacement.

9.5.11 Protection and Cleaning 

(a) Provide final protection and maintain conditions to ensure that the final installed signage are without damage and deterioration at time of completion.

(b) Clean signs thoroughly without damaging the exposed surfaces.

(c) Protective coverings shall be retained intact and restored if damaged.  Allow for temporary removal and subsequent reinstatement of the protective coverings for the inspections by the Architectural and his Representative.

(d) Upon completion of the signage, remove all protective coverings simultaneously from similar finished items to prevent non-uniform discoloration.













































































